Successful TCE participants; all Connectathons -

|  | Export Manager | Export Selector | Receiver |
| --- | --- | --- | --- |
| AGFA Healthcare |  | * |  |  |
| Carestream Health (formely known as Kodak) |  |  |  | * |
| ConVis Medizinische Datenverarbeitung GmbH & Co. KG |  |  | * |  |
| Fujifilm |  |  | * |  |
| GE Healthcare |  |  | * |  |
| GeSIT |  |  | * |  |
| Toshiba Medical Systems |  |  | * |  |
| Vital Images, Inc; |  |  | * | * |

Per-Connectathon level of participation:

Oxford 2008 – 1 Export Selector and 1 Export Manager

Chicago 2008 – 3 Export Selector and 1 Export Receiver successfully tested

Berlin 2007 – 2 Export Selectors, 1 Export Manager, and 1 Export Receiver tested

Chicago 2007 – 4 Export Selectors, 1 Export Manager, and 1 Export Selector tested

Japan 2007 – None

Barcelona 2006 – None

Chicago 2006 – 1 Export Selector and 1 Export Receiver

Per-Connectathon level of participation:

1. Has the profile been through a Connectathon in at least two regions?
 -- Yes
2. Has the profile been successfully tested with all actors at least at one Connectathon?
 -- Yes
3. Have different implementations of each actor in the profile been tested? 
 -- Only one vendor has implemented and tested the Export Manager
4. Have all the options been tested successfully at least one Connectathon?

-- Unknown.  We don’t have option-specific tests for this profile; the options are incorporated into a required test.

Steve’s opinion:

> TCE has had little testing, but there do not seem to be questions. It is
> more apathy from vendors. I don't see huge risks in going to Final Text.