Minutes

Discrete Positioning and Delivery Workflow (DPDW)

Conference Call

February 23, 2016

11:00am – 12:00am EST

DPDW Subgroup Chair:

Thomas Schwere, Varian Medical Systems
(thomas.schwere@varian.com)

IHERO Task Force Co-Chairs

Dick Fraass, Ph.D., FAAPM, FASTRO, FACR

John Buatti, MD

**Mission Statement:** *The American Society for Radiology Oncology (ASTRO) has formed a multi-society Task Force to undertake an initiative to promote the Integration of the Healthcare Enterprise (IHE) – Radiation Oncology (RO), fostering seamless connectivity and integration of radiotherapy equipment and the patient health information systems. The Task Force will include members from ASTRO, RSNA, American Association of Physicists in Medicine (AAPM), the American College of Radiology (ACR) and the Medical Imaging and Technology Alliance (MITA). In addition, members of the International community have also been invited to participate in IHE-RO. The IHE-RO Task Force, in close collaboration with radiotherapy product manufacturers, will develop appropriate integration profiles for radiation therapy and setup a demonstration of seamless communication among the full array of radiotherapy products.*

**In Attendance:**

Crystal Carter (ASTRO)

Thomas Schwere (Varian)

Sanjay Bari (Elekta)

Harold Beunk (ICT)

Martin Vonach (Brainlab)

Ulrich Busch (Varian)

Bruce Curran (Brown Univ. / ASTRO)

# Call to Order

The meeting was started at 11:00 EST.

# Meeting Minutes of Malaga 2015 Meeting

Martin asked why we decided to remove the 3rd combination of the DPW sub profiles DPDW 1 (Treatment Session Workflow Frame Profile) and DPDW 4 (Discrete Delivery and Monitoring Profile). The group decided in the call to keep it in the profile for the moment.

There was no other feedback.

# General Design Topics

## Extensions in Unified Procedure Step Service and SOP Classes

Uli gave an update on the discussion he had with WG-6 during the January meeting. This was an informal discussion and was mainly about preparing the ground as the complexity of a radiotherapy treatment session is rather high compared to for example standard workflows in radiology. Uli still thinks that we can get the needed extensions though. If not there is always the possibility to create a private service based on the existing UPS service. The next discussion with WG-6 will happen during the March meeting.

In any case we should aim for making a final decision within the next few months.

## Granularity of UPS/Instructions

Thomas went through the updated proposal (one UPS/Instruction set per treatment position).

## RO-DPD-220 "Notify Treatment Session Actors on Starting Session"

Thomas presented the proposal for RO-DPD-220 "Notify Treatment Session Actors on Opening/Closing Session". The basic idea is to use a "Treatment Session Orchestration" UPS which is issued by the TSM (for the TSM itself as a performer) after a session is started and to which the actors are subscribed.

## Interruption Handling for Monitoring Use Cases

Thomas presented a new sequence diagram for DPDW 4 Use Case #2 "Interruption Handling by Re-Acquisition of Positioning Data" along the concept of using one UPS/Instruction set per treatment position. The following discussion was mainly about what notifications we actually need between TDD and PPMS (where TSM is mainly acting as a notification forwarder only). The open issues will be added as notes into the sequence diagram. The updated sequence diagrams will be distributed shortly after the call.

# Process / TCons / Meetings

## Mailing List

Not discussed.

## Face-to-Face Meeting

Since the IHE-RO TC meeting May 9-13 2016 was moved from Crawley (Europe) to St. Louis (US) the idea of having a DPDW face-to-face meeting in parallel was skipped.

# Other Business

## Next DPDW TCon

Tuesday, March 22, 2016: 11:00am – 12:00am EST.

# Adjournment

The meeting was adjourned at 12:00am EST.

Appendix A: Administration and Process Information

Documents are published at the following locations. If you have problems in accessing the document, please contact the Chair (thomas.schwere@varian.com).

## Process of Authoring:

Steps:

1. Download a local copy of the document from locations below
2. Open this copy and remove all change bars
3. Ensure, that Changes Bars are switched on
4. **Make your changes**
5. Provide the updated version to the Chair

##  Location of Documents:

DPDW Subgroup Minutes

<http://wiki.ihe.net/index.php?title=RO_DPDW_WorkingGroup>

DPDW Profile

The DPDW Profile is an IHE-RO document.

The current version is available in the IHE-RO Org Wiki:

<http://www.ihe-ro.org/>

Please find the current document under this page:

<http://www.ihe-ro.org/doku.php?id=doc:profiles>

Supp 160

DICOM Supplement 160 (Patient Positioning and Workflow) in s DICOM WG-07 document.

The current version is available at the DICOM ftp server:

ftp://d9-workgrps:goimagego@medical.nema.org/MEDICAL/Private/Dicom/WORKGRPS/WG07/Sup/Sup160\_PatientPositioningAndWorkflow

##  Mailing List:

The mailing list for the DPDW subgroup is:

iherodpdw2015@aapm.org

Appendix B: Task Assignments

Per end this TCon (2015-01-27).

| **No** | **TX / Area** | **Old Number** | **Title** | **Group** | **Owner** |
| --- | --- | --- | --- | --- | --- |
| 1 | ./. | ./. | Use Case Delivery-Device Independent Imaging |   | David Wikler |
| 2 | RO-DPD-200 | RO-DPD-01 | Worklist Query for Positioning Acquisition | Acquisition | Martin Vonach |
| 3 | RO-DPD-201 | RO-DPD-02 | Retrieve Device Position Information | Acquisition | Martin Vonach |
| 4 | RO-DPD-202 | RO-DPD-03 | Request RT Patient Position Correction | Correction | Martin Vonach |
| 5 | RO-DPD-203 | RO-DPD-04 | Store RT Patient Position Modification Instruction | Correction | Martin Vonach |
| 6 | RO-DPD-204 | RO-DPD-05 | Store RT Repositioning Results to Object Storage | Correction | Martin Vonach |
| 7 | RO-DPD-205 | RO-DPD-06 | Worklist Query for Repositioning | Correction | Martin Vonach |
| 8 | RO-DPD-206 | RO-DPD-07 | Notify on Radiation Delivery Status Change | Delivery | Thomas Schwere, Sanjay Bari |
| 9 | RO-DPD-207 | RO-DPD-08 | Retrieve RT Patient Position Correction Instruction | Correction | Martin Vonach |
| 10 | RO-DPD-208 | RO-DPD-09 | Subscribe/Unsubscribe to Treat UPS Status | UPS Notification | Thomas Schwere |
| 11 | RO-DPD-209 | RO-DPD-10 | Notify on Radiation State | Delivery | Thomas Schwere, Sanjay Bari |
| 12 | RO-DPD-210 | RO-DPD-11 | Retrieve Positioning Acquisition Results | Registration | Chris Pauers |
| 13 | RO-DPD-211 | RO-DPD-12 | Worklist Query for Positioning Registration | Registration | Chris Pauers |
| 14 | RO-DPD-212 | RO-DPD-13 | Worklist Query for Position Monitoring | Monitoring | Stephen Phillips  |
| 15 | RO-DPD-213 | RO-DPD-16 | Store Monitoring Results to Object Storage | Monitoring | Stephen Phillips  |
| 16 | RO-DPD-214 | RO-DPD-17 | UPS Final Update at Session Termination | Framework | Thomas Schwere, Sanjay Bari |
| 17 | RO-DPD-215 | RO-DPD-18 | UPS Completed / Cancelled at Session Termination | Framework | Thomas Schwere, Sanjay Bari |
| 18 | RO-DPD-216 | RO-DPD-19 | Indicate Ready for Monitoring | Monitoring | Stephen Phillips  |
| 19 | RO-DPD-217 | RO-DPD-20 | Notify Device to start UPS | UPS Notification | Thomas Schwere, Sanjay Bari |
| 20 | RO-DPD-218 | RO-DPD-21 | Create Positioning Acquisition and Positioning Registration UPS | Workflow | Thomas Schwere |
| 21 | RO-DPD-219 | RO-DPD-22 | Create Treat UPS and Radiation Delivery Instruction for Continuation | Workflow | Thomas Schwere |
| 22 | RO-DPD-220 | RO-DPD-23 | Notify Treatment Session Actors on Starting Session | UPS Notification | Thomas Schwere, Sanjay Bari |
| 23 | RO-DPD-221 | RO-DPD-24 | Notify Device to stop UPS | UPS Notification | Thomas Schwere, Sanjay Bari |
| 24 | RO-DPD-222 | RO-DPD-25 | UPS Progress Update for Discrete non-Treatment Steps | UPS Notification | Thomas Schwere, Sanjay Bari |
| 25 | RO-DPD-223 | RO-DPD-26 | Worklist Query for Positioning Correction Reconciliation | Registration | Chris Pauers |
| 26 | RO-DPD-224 | RO-DPD-27 | External Verification | External Verification | Sanjay Bari |
| 27 | RO-DPD-225 | ./. | Notify Device to resume UPS  | Monitoring | Stephen Phillips  |
| 28 | RO-DPD-226 | ./. | Create new Positioning UPS | Monitoring | Stephen Phillips  |
| 29 | RO-DPD-227 | ./. | UPS Final Update after Positioning Information Acquisition | Workflow |  |
| 30 | RO-DPD-228 | ./. | UPS Final Update after Treatment Interruption | Workflow | Thomas Schwere |