Integrating the Healthcare Enterprise

IHE Cardiology

Technical Framework Supplement

Whitepaper

3D/4D Echocardiography Workflow

Draft

Date:		February 2011

Author:	Antje Schroeder

Email: 		cardiology@ihe.net

This is a Whitepaper for the IHE Cardiology Technical Framework V2.1

It is submitted for Public Comment between June 01, 2011 and July 01, 2011.

Comments shall be submitted within that period to http://forums.rsna.org:

Select the “IHE” forum

Select Cardiology Technical Framework

Select 2010-2011 Supplements for Public Comment

Select 3D/4D Echocardiography Whitepaper

Please use the Public Comment Template provided there when starting your New Thread.

Details about IHE may be found at:  www.ihe.net

Details about the IHE <Domain Name> may be found at:  http://www.ihe.net/Domains/index.cfm

Details about the structure of IHE Technical Frameworks and Supplements may be found at: http://www.ihe.net/About/process.cfm and http://www.ihe.net/profiles/index.cfm

The current version of the IHE <Domain Name> Technical Framework may be found at:. http://www.ihe.net/Technical_Framework/index.cfm

These ”boxed” instructions are for the author to indicate to the Volume Editor how to integrate the relevant section(s) into the overall Technical Framework

TABLE OF CONTENTS

Introduction	4

Profile Abstract	4

Open Issues and Questions	4

Closed Issues	4

1	Introduction	5

1.1	Problem Statement	5

1.2	Scope	5

1.3	Definitions	5

1.4	References	6

2	Use cases	7

2.1	Workflow use cases	7

2.1.1	3D Echo workflow within the enterprise	7

2.1.2	3D Echo Image exchange via Media	9

2.2	Review/Display use cases	10

2.2.1	3D quantification	10

2.2.2	Visualization and analysis of valvular anatomy	13

2.2.3	Visualization and analysis of congenital heart defects	15

2.2.4	3D Fetal Echocardiography	16

2.2.5	Volume Stress Echo	18

2.3	Use cases for future consideration	20

3	Technical Requirements /Pre-Requisites from DICOM	22

3.1	nD Presentation State requirements	22

3.2	Structured Report Requirements	23

4	Proposal for the 3D/4D Echo Supplement	24

Introduction

3D Echocardiography is gaining more importance in clinical routine. However until recently there was no standard for the storage and exchange of these volume data. Each vendor developed a proprietary way to store their volumes data, not allowing for exchange with and review on other vendor workstations. At the end of 2008 DICOM approved Supplement 43 (Enhanced US Volume storage IOD) to address the need of exchanging 3D/4D ultrasound datasets between different vendors. IHE Cardiology decided to further improve inter-operability and to encourage implementation of this new SOP class by defining a 3D/4D Echocardiography workflow. Due to the lack of storing derived views and their geometric transformation in DICOM, it was decided to first provide a white paper to define the clinical use cases as a basis for a profile development in a subsequent year.

Abstract

Since 3D Echocardiography is still relatively new, and associated with it, there are major changes in the way, how these studies are reviewed. Therefore this whitepaper details clinical use cases on the acquisition, exchange and review of 3D ultrasound data sets.

Open Issues and Questions

| # | Issue/Answer |
| --- | --- |
|  | Should two step loading of volume data be described in these use cases? On some systems loading of volume data sets might be slow due to the size of the data sets. Should it be part of the use cases, that together with each derived view a regular 2D ultrasound clip should be stored as well. When opening that view, the user could initially review the 2D ultrasound clip and only load, open the volume data, if he wants to do some further manipulations. Response: |
|  | Are there any specific 3D measurements that do not have a 2D equivalent? Currently, for most of the measurements done on volume data sets, there is a 2D equivalent, which is done based on some geometric assumptions (e.g. calculation of ejection fraction based on Teichholz equation, Simpson’s rule, or area length method). However are there measurements that do not have a 2D equivalent. If so, which are these. Response: |
|  | What would be the advantage of doing Tissue Doppler on volume data sets rather than in 2D. A description of the Tissue Doppler Imaging use case is needed in order to stress the advantages of volume acquisition/review. Response: |
|  | For 3D measurements, should there be a reference in the DICOM structured reports to the images and area, the measurements were done on? Currently in 2D, most Echocardiography SRs do not contain any reference in the SRs to the image/frame/region the measurement was taken on. Does this change with 3D? Response: |

Closed Issues

| # | Issue/Answer |
| --- | --- |
|  | Are there any use cases for image fusion with CT/MR? Response: This is an interesting topic. Currently there are no use case for image fusion with other modalities, also due to the lack of having a fixed coordinate system and reference points. However there is some interest in fusing echo data with CT in order to get a better assessment of the morphology. Furthermore it would be of interest to overlay EP data on top of Echo images. Since there is no complete understanding of these use cases yet, these scenarios will be listed in a section for future use cases. |
|  | Are there any use cases for using Maximum/Minimum Intensity Projections Response: No |
|  | Are there any use cases, in which it would be helpful to time limit clips for display purposes? Response: This would be very useful in stress echo. After acquiring multiple beats per stage, the most representative beat can be select. If atrial or ventricular premature beats occur, they can be omitted from function analysis. This functionality will be addressed in the Volume Stress Echo use case. |
|  | Are 3D visualization of the interior of a ventricle clinically useful Response: Such 3D rendered views of volumes are useful for depicting regional motion abnormalities not only due to ischemic changes but also for structural abnormalities and how they change throughout the cardiac cycle. This could also be of use to define changes in shapes and curvatures not apparent by 2D images alone. Also the 3D casts of Doppler flow areas across valves or holes for example would prove very useful. This functionality will be addressed in the 3D quantification use case. |

# Introduction

## Problem Statement

3D Echocardiography is gaining more importance in clinical routine due to more accurate and reliable quantification, better reproducibility, and new views on valvular and congenital heart disease for improved diagnostics and pre-operative planning. However until recently there was no standard for the storage and exchange of these volume data. Each vendor developed a proprietary way to store their volumes data, not allowing for exchange with and review on other vendor workstations. At the end of 2008 DICOM approved Supplement 43 (Enhanced US Volume storage IOD) to address the need of exchanging 3D/4D ultrasound datasets between different vendors. IHE Cardiology decided to further improve operability and to encourage implementation of this new SOP class by defining a 3D/4D Echocardiography workflow.

After discussing this approach with clinical representatives it turned out, that in order to define a meaningful clinical workflow, it would be essential to not only address the storage of the volumes but also the review and manipulation of these volume objects. In this context it is important to also address the hand off between sonographer and cardiologist, which requires not only the volume data but also some information as to how certain views have been generated, so that the cardiologist can seamlessly continue the work of the sonographer. In DICOM terms this would require an nD Presentation State, which is currently under work by DICOM WG11. Since finalization of the corresponding work item will take some more time, it was decided to start development of this profile by defining clinical use cases for 3D Echo during year 6 and to use the results for a profile in a subsequent year.

## Scope

In the context of this whitepaper we will be focusing on interactions between the sonographer at the scanner and the reading physician at a review workstation. The overall clinical workflow (including patient admission, ordering, scheduling, image acquisition, storage and reporting) is covered in the Echo workflow and will be most likely the same for 3D/4D Echo workflow, actually most likely it will be the same, since all studies will include 2D and 3D objects. The critical part for 3D/4D workflow is on the review of the 3D/4D datasets and the interaction with the volume data.

## Definitions

| B-Mode | In B-mode ultrasound, a linear array of transducers simultaneously scans a plane through the body that can be viewed as a two-dimensional image on screen |
| --- | --- |
| CW | Continuous Wave Doppler: It involves continuous generation of ultrasound waves coupled with continuous ultrasound reception. Doppler information is sampled along a line through the body, and all velocities detected at each time point is presented (on a time line) |
| IOD | Information Object Definition |
| MPR | Multi-planar reconstruction: MPR is a two-dimensional reformatted image that is reconstructed in arbitrary planes from a stack of axial image data |
| Presentation State | DICOM object which contains display information for a given image (set of images) like region of interest, annotations, geometrical transformations, contrast or color setting, … |
| PW | Pulsed Wave Doppler. It uses a transducer that alternates transmission and reception of ultrasound. Doppler information is sampled along a line through the body, and all velocities detected at each time point is presented (on a time line) |
| SR | DICOM Structured Report |
| TDI | Tissue Doppler Imaging (TDI) is an ultrasound technique that enables the quantification of regional myocardial function by measuring myocardial velocities |

## References

Three-Dimensional Echocardiography: The Benefits of the Additional Dimension. Roberto M. Lang, Victor Mor-Avi, Lissa Sugeng, Petra S. Nieman, David J. Sahn. Journal of the American College of Cardiology, Vol. 48, No. 10, 2006

ASE Position Paper. Three-Dimensional Echocardiography: A Review of the Current Status and Future Directions. Judy Hung, Roberto Lang, Frank Flachskampf, Stanton K. Shernan, Marti L. McCulloch, David B. Adams, James Thomas, Mani Vannan, and Thomas Ryan. Journal of the American Society of Echocardiography, March 2007

IHE Cardiology Technical Framework, Volume 1, Revision 2.1 (http://www.ihe.net/Technical_Framework/upload/ihe_CARD_tf_vol1_2.pdf)

# Use cases

Use cases defined in this document will focus on two different aspects of 3D Echocardiography. The first group of use cases addresses general workflow issues, like the generation, storage and exchange of volume data either trough network transfer or via external media. These use cases will be the basis for interoperability requirements. The second group of use cases deals with the review of volume datasets and addresses display of and interaction with volume data, especially the handoff between different parties involved in generation and review. These use cases will be used to derive requirements for a nD presentation state.

## Workflow use cases

### 3D Echo workflow within the enterprise

Description

This use case describes the workflow in the echo lab, including image acquisition, storage, retrieval and review of a study. Image acquisition and review  includes both 2D as well as 3D acquisitions. For details on patient administration, ordering and scheduling please refer section 4 in [3].

Scenario

Dr. Winter works in an echo lab with three different ultrasound systems, all from different vendors (A, B, C). All of the scanners support 3D echocardiography and store volume data sets in a standardized vendor neutral format (DICOM enhanced US Image object) as well as n-dimensional presentation states for specific display information, which would allow the storage of representative views of the volume data set. Furthermore the lab uses a PACS from vendor D and a review workstation from one of the scanner vendors (A). Both the PACS and the workstation support the storage and display of the volumes and presentation states stored in a standardized format. Furthermore there are three sonographers employed in the echo lab as well, who perform the image acquisition (2D and 3D), generate some representative views and perform some measurements.

Tony Smith presents at Dr. Winter’s Echo Lab because of acute chest pain, shortness of breath and fatigue. One of the Sonographers performs an echocardiogram on the Echo System from vendor B. The study includes 3D views of the aortic valve and some measurements performed on those images. She stores the images to their PACS. Later on Dr. Winter reviews retrieves the study from the workstation, opens the derived views, further manipulates the volume, and performs the diagnosis of severe Aortic Regurgitation.

Pre-Requisites

- Patient and exam data are available at the scanner (either through modality worklist or manually entered at the scanner)

Main Flow

On the scanner:

- The sonographer claims the corresponding work item and start the corresponding exam

- The sonographer performs some of the following steps in the site specific order

  - optimizes settings and performs 2D acquisition of anatomy/morphology of interest using one or more of the following techniques:

- B-Mode

- B-Mode with color flow

- M-Mode

- CW

- PW

- ...

  - optimizes settings and performs a volume acquisition of the aortic valve using  one or more of the following techniques:

- B-Mode

- B-Mode with color flow

- ...

(ECG signals are recorded synchronized with the volume acquisition)

- The sonographer performs measurements during data acquisition

- The system stores images and measurements locally. For volume data the ECG is stored in a separate object and linked to the volume

- The sonographer reviews acquired objects, performs additional measurements and manipulates volume data:

  - performs 3D quantification use case

  - performs visualization of valvular anatomy use case

- The systems stores all additional images, derived views, measurements locally

- The sonographer ends the exam

- The sonographer either sends the study manually to PACS or system automatically forwards the study to the archive

At the workplace:

- The cardiologist (or system automatically) initiates retrieval of study from archive (optionally previous study may be retrieved as well)

- The cardiologist opens study

- System display all 2D images and derived views (represented in a presentation state object) on the screen.

- The cardiologist reviews images, views and measurements done by the sonographer on the scanner and optionally compares results to previous study:

  - performs 2D review (as usual)

  - reviews results from 3D quantification use case and potentially re-does the use case after adjusting views

  - performs additional visualizations of aortic valve as defined in the visualization of valvular anatomy use case

- The cardiologist / Systems stores all additional images, derived views, measurements locally

- The cardiologist switches to reporting page and reviews measurements and adds some observations.

- The cardiologist  either sends additional images/views/measurements manually to PACS or system automatically forwards the study to the archive.

- The cardiologist ends the exam

Post Conditions

- All diagnostically relevant information has been acquired and stored and is available for final reporting in the image manager.

Alternate Flows

- Volume data are directly sent to the workplace, where post processing and review is performed. As a result of this review process, representative 2D views are stored (as standard Ultrasound objects) and sent to the Image Manager for archival

- At the scanner, the reviewing sonographer generates representative 2D views (as standard Ultrasound objects), which are sent to the archive. At the workplace the reading physician is reviewing the images as a 2D study.

Conclusion

In order to allow for storage, exchange and review of volume data sets from each of the scanners, image data (and especially volume data and associated waveforms) and presentation states need to be stored in a standardized, vendor neutral format.  Furthermore presentation states are essential for the cardiologist to see the views generated by the sonographer and to further manipulate them.

### 3D Echo Image exchange via Media

Description

This use case describes the workflow for reviewing data sets acquired at a different facility and copied to CD.

Scenario

Dr. Winter diagnosed a severe Aortic Stenosis for Tony Smith which requires surgery. He refers Tony to a cardiac surgeon for valve replacement surgery. The cardiologist asks one of the assistants to burn a CD with all images, presentation states and associated waveforms that have been acquired for Tony. When Tony arrives at the cardiac surgery unit he presents the CD to the surgeon, who opens it at his local workstation from vendor B. He opens some of the volume rendered views of the aortic valve and further manipulates it to plan surgery.

Pre Requisites

- Study has been burned in a standardized, vendor neutral format to media

Main Flow

At the review workstation

- The user inserts the CD and either imports the study to his local system 
[Note: this could be done by following the IHE import reconciliation workflow]

- The user opens the study and selects a volume data set depicting the aortic valve.

- The user follows the steps defined in the use case for valve visualization below (see section 2.2.2)

Post Conditions

The cardiologist was able to review the CD and the included study done at a different vendor’s system and using a different IT infrastructure.

Alternate Flows

- Instead of importing the study the user opens it directly from the CD. In this case no additional views/measurements could be added to the study

- Depending on the exam type or question, the user may perform any of the review use cases below.

Conclusion

In order to allow for review and further manipulation of volume data sets on the CD, they  need to be stored in a standardized, vendor neutral format. Furthermore presentation states are essential for the cardiac surgeon to see the views generated by the cardiologist and to further manipulate them.

## Review/Display use cases

### 3D quantification

Description

It is proven that 3D quantification of the cardiac chambers is more accurate and reproducible for multiple reasons:

- No geometric modeling is necessary

- Improved endocardial visualization

Parameters to be quantified:

- LV ejection fraction

- LV mass

- LA and RA volume

- RV volume

Scenario:

This use case provides some additional details to the general workflow use cases as they were described in Section 2.1. In the scenario of Tony Smith, who is examined at Dr. Winter’s Echo lab because of Aortic Regurgitation a quantification of the left ventricle is performed. The sonographer at the scanner generates some representative views, which she uses in order to perform the quantification. She stores the results (measurement information and representative views) together with the images to the PACS, so that the reading cardiologist can later on retrieve the study at the workstation and review the quantification results as part of his diagnostic process.

Pre-Requisites

- Volume data-set(s) suitable for the quantification of the chamber in question have been captured

Main Flow

On the scanner (initial review through sonographer):

For each chamber, the user wants to perform quantification on

- The user opens the volume best depicting the chamber (e.g. the left ventricle) to be analyzed

- The system displays the volume and the associated ECG waveform time synchronized

- The user generates view(s) appropriate to initiate the quantification algorithm and stores them:

  - adjust rotation, zoom, pan, cropping parameters

  - adjust contrast and brightness settings

  - select representative heartbeat (select start and end frame)

- The user starts the quantification algorithm

- The system segments the cavity and calculates relevant parameters and displays the results in one or multiple of the following options:

  - measurement values in the reporting/measurement package

  - MPR views, with outlines of segmented chamber

  - Rendered view of chamber with or without surrounding tissue

  - 16/17 segment model as rendered view (?)

  - anything else?

- Optionally the user corrects segmentation results, re-initiates quantification

- The user annotates images and derived views

- The user/system stores results and representative views (as presentation states)

- Optionally the user generates different standard views, stores them and performs standard 2D measurements on them not previously calculated.

At the review workstation (follow up review through cardiologist)

For each chamber of interest (e.g. the left ventricle), that was previously analyzed:

- The user opens the volume through one of the representative views (presentation state) generated previously (e.g. MPRs with outlines)

- The system displays the view of the volume and the associated ECG waveform time synchronized

- The user reviews the results of previous analysis

- optionally the user corrects segmented contours and re-initiates quantification

- the user/system stores the updated views and quantification results as a presentation state/DICOM SR

- User opens volume through derived 2D views and reviews 2D measurement results

- Optionally the user modifies views and re-measures

- User stores and additional views/measurements (presentation state/SR)if needed.

- The user continues with another chamber following the previous steps

Post Conditions

- All relevant quantification results and modified views have been locally stored

Alternate Flows

- The user at the scanner does not store presentations states but rather calibrated 2D images (static/clips) or secondary capture images. These could be reviewed by the cardiologist at the review station, however further volume manipulations would not be possible. Since the data are calibrated, standard 2D measurements could be performed

Presentation State Requirements

- MPR views with calibration information

- MPR views with segmented outlines overlaid

- Volume rendered views of segmented chamber (or color coded display of segmented structures like wall segments) (with or without surrounding tissue)
[Note 1: Do we need the presentation stated to support handling image IODs and segmentations IODs combined?]
[Note 2: Surface Rendering might be sufficient here as well]

- Derived views have to reference external ecg waveform or at least the display needs to be able to open them based on the reference in the volume object

### Visualization and analysis of valvular anatomy

Description

This use case defines the workflow for examining valvular heart diseases based on 3D/4D Echocardiograms, which allow better analysis valve defects. By acquiring a volume and deriving different views of the valve and the surrounding chambers, the following advantages are evident:

- quantification of the mitral annulus

- visualization of mitral leaflets, commisures and orifice

- perpendicular en-face views enable accurate valve area measurements

- support of surgical planning and follow up after surgery

- more accurate quantification of mitral and aortic stenosis

- 3D color flow imaging combined with grayscale data for analysis of jets (origin, direction , orifice areas, flow measurements ...)

Scenario:

This use case provides some additional details to the general workflow use cases as they were described in Section 2.1. In the scenario of Tony Smith, who is examined at Dr. Winter’s Echo lab because of Aortic Regurgitation a visualization and analysis of the morphology of the aortic valve is performed. The sonographer at the scanner generates various 3D views of the valvular anatomy including perpendicular en-face views with and without color. She stores the results together with the images to the PACS, so that the reading cardiologist can later on retrieve the study at the workstation and review the quantification results as part of his diagnostic process.

Pre-Requisites

- Volume data-set(s) suitable for valve analysis have been captured

Main Flow

On the scanner (initial review through sonographer):

For each valve to be analyzed ,the user performs the following steps

- The user opens the volume best depicting the valve to be analyzed

- The system displays the volume and the associated ECG waveform time synchronized

- The user generates different views of the valve in order to examine the valve:

- Volume rendered views to depict the annulus, the leaflets, commisures and the orifice

- Volume rendered views displaying color flow through the valve to evaluate jets

- MPR views for calculating the orifice area

- MPR views with color doppler information to measure the vena contracta, calculate the regurgitation volume through PISA

- The user performs an analysis of left/right ventricular function (see 3D quantification use case)

- The user opens CW images and performs some measurements (pressure gradients, …)

- The user/system stores results and representative views (as presentation states)

At the review workstation (follow up review through cardiologist)

For each valve to be analyzed:

- The user opens the volume through one of the volume rendered views

- The system displays the view of the volume and the associated ECG waveform time synchronized

- The user reviews the view and continues to manipulate them:

  - rotate the image

  - change rendering parameters

  - annotate the images

  - turn color on and off

- The user saves modified views as necessary

- The user continues with step 1 for the next view

- The user opens an MPR view

- The system displays the view and the associated ECG waveform time synchronized

- The user reviews the image and the measurements and optionally changes the view for further measurements:

  - rotate the view

  - annotate the image

  - turn color on and off

  - perform further measurements

- The user saves modified views and analysis results as necessary

- Optionally the user generates an animation showing the valve from different view points, turning color on and off and changing rendering parameters.

- The user continues with step 6 for the next view

Post Conditions

- All relevant images have been reviewed and necessary measurements (based on 2D images as well as based on volume data) have been performed and stored locally

Alternate Flows

- The user at the scanner does not store presentations states but rather calibrated 2D images (static/clips) or secondary capture images. These could be reviewed by the cardiologist at the review station, however further volume manipulations would not be possible. Since the data are calibrated, standard 2D measurements could be performed.

Presentation State Requirements

- Support for volume rendered images

- Support for annotations, rendered as part of the scene or rendered as overlay

- Rendering of tissue data combined with color flow information

- Option to turn color on and off in volume rendered views as well as in MPRs

- Support for storing animations while changing:

  - Geometric parameters of the view

  - Rendering parameters

  - Color (on/off)

  - Zoom, crop and pan

- MPR requirements as described in previous use case

### Visualization and analysis of congenital heart defects

Description

This use case describes the review of volume data sets to examine congenital heart defects. Major advantages in using volumes for evaluating congenital heart disease are:

- Visualization of complex cardiac anatomy of congenital defects

- perpendicular en face view of septal defects for determining size

Scenario

Peter Miller, a 2 month old baby is presented at the pediatrician because of a bluish tint to the skin, fast breathing, a rapid heart rate and swelling of the legs. Since the pediatrician also hears a murmur, he refers the baby to Dr. Winter’s Echo lab for an echocardiogram. Following the general workflow described in Section 2.1 the sonographer additionally generates some views of the ventricular septum and performs some quantification of the right ventricle (as defined in the 3D quantification use case).

Pre-Requisites

- Volume data-set(s) suitable for visualizing congenital defects and analysis have been captured

Main Flow

On the scanner (initial review through sonographer):

- The user opens a volume.

- The system displays the volume and the associated ECG waveform time synchronized

- The user generates different views of the defect:

- Volume rendered en-face perpendicular views of the ventricular septum

- Volume rendered views displaying color flow through the VSD to evaluate shunt

- MPR views for calculating the size of the opening

- The user performs the 3D quantification use case for the right ventricle

- The user/system stores results and representative views (as presentation states)

At the review workstation (follow up review through cardiologist)

For each valve to be analyzed:

- The user opens the volume through one of the volume rendered views

- The system displays the view of the volume and the associated ECG waveform time synchronized

- The user reviews the view and continues to manipulate the it:

  - rotate the image

  - change rendering parameters

  - annotate the images

  - turn color on and off

- The user saves modified views as necessary

- The user continues with step 1 for the next view

- The user opens an MPR view

- The system displays the view and the associated ECG waveform time synchronized

- The user reviews the image and the measurements and optionally changes the view for further measurements:

  - rotate the view

  - annotate the image

  - turn color on and off

  - perform further measurements

- The user saves modified views as necessary

- The user continues with step 6 for the next view

Post Conditions

- All relevant images have been reviewed and necessary measurements (based on 2D images as well as based on volume data) have been performed and stored locally. Additional derived views have been stored locally.

Alternate Flows

- The user at the scanner does not store presentations states but rather calibrated 2D images (static/clips) or secondary capture images. These could be reviewed by the cardiologist at the review station, however further volume manipulations would not be possible. Since the data are calibrated, standard 2D measurements could be performed.

Presentation State Requirements

- Support for volume rendered images

- Support for annotations, rendered as part of the scene or rendered as overlay

- Rendering of tissue data combined with color flow information

- Option to turn color on and off in volume rendered views as well as in MPRs

- MPR requirements as described in previous use case

### 3D Fetal Echocardiography

Description

Acquiring the correct views for evaluating fetal cardiac anatomy is not an easy process. Through acquiring a volume dataset of the fetal heart and  extracting the standard views normally used for fetal screening the process could be significantly simplified. The following   default views could be derived from the volume for further analysis:

- 4-chamber view

- Outflow tract

Further advantages are in the use of volume rendered views from the outside of the heart in order to depict the complex cardiac anatomy especially in heart defects effecting the outflow tract and a disposition of the great arteries.

Scenario

Amy Myers, pregnant for 20 weeks, gets a referral for a fetal echocardiogram due to an increased risk for congenital heart disease because of family history of congenital heart disease. The overall workflow steps are defined as in Section 2.1. The sonographer acquires one or multiple volume datasets and generates diagnostic views which are needed for evaluation.

Pre-Requisites

- A b-mode volume data-set and suitable b-color volume(s) have been acquired.

Main Flow

On the scanner:

- The user selects b-mode volume dataset best depicting the heart and opens it.

- System loads the volume dataset and displays it.

- The user manipulates the volume to generate a MPR of the four chamber view (rotate, zoom and crop as well as contrast manipulations).

- The user stores the image locally.

- The user performs measurements and analysis of the four chamber view.

- The system stores measurement results locally

- If color flow information was present in the in the image the user turns color on and optimizes display.

- The user stores derived view locally

- The user continues to manipulate the volume to obtain relevant views of the outflow tract (5 chamber view, three vessel view and tracheal view) and performs measurement on derived views.

- The user stores additional views and measurement information locally.

- If color flow information was present in the in the image the user turns color on and optimizes display.

- The user stores derived view locally.

- User generates volume rendered views of the outside of the heart, especially displaying the outflow tract and the major arteries.

- The user stores these derived views locally.

At the review workstation (follow up review through cardiologist)

For each derived view to be reviewed

- The user opens the derived view

- The system displays the view

- The user continues to manipulate the view, until he is satisfied:

- Rotate

- Zoom

- Crop

- Contrast enhancements

- Rendering parameters

- The user reviews measurements and eventually adds some more measurements or corrects some of the existing measurements

- The user stores updated views and measurements locally on the system

Post Conditions

- All relevant images have been reviewed and necessary measurements (based on 2D images as well as based on volume data) have been performed and stored locally. Additional derived views have been stored locally.

Alternate Flows

- The user at the scanner does not store presentations states but rather calibrated 2D images (static/clips) or secondary capture images. These could be reviewed by the cardiologist at the review station, however further volume manipulations would not be possible. Since the data are calibrated, standard 2D measurements could be performed.

### Volume Stress Echo

Description

Volume Stress Echocardiography has the potential to overcome some of the limitations in 2D Stress Echocardiography like:

- Insufficient visualization of the left ventricle

- Difficulties to position the probe resulting in inadequate imaging planes

- Time consuming serial acquisitions during the narrow window of peak stress.

This use case should cover fast volume acquisition at different stress levels, and wall motion analysis based on MPRs of standard views.

Scenario

John Walters is referred to Dr. Winter’s Echo Lab with suspected CAD for a stress echo test.  The sonographer performs the acquisition of volume data for each stage, selects appropriate volumes and generates standard views for wall motion scoring. Dr Winters, after retrieving the study at the workstation, re-adjust some of the views, selects representative heart beats and performs wall motion analysis as well as some LV quantification (as described in the 3D quantification use case)

Pre-Requisites

- Patient has been registered (either through modality worklist or manually at the scanner)

Main Flow

At the Scanner

- The sonographer prepares patient

- The sonographer selects/registers the patient and start the Stress Echo exam

- The sonographer starts image acquisition and acquires one or multiple volumes in resting stage

- The system stores the acquired data sets locally (marked as resting stage)

- Patient exercises/stress agents are administered

- For each stress stage:

  - The sonographer captures one or multiple volumes for the that stage

  - The system stores the acquired data sets locally (marked with the appropriate stage information)

- The sonographer reviews stress data sets:

  - User selects appropriate volume(s) for each stage

  - User (or system automatically) generates standard 2D views for wall motion analysis (A4C, A3C, A2C, short axis views on various levels), optionally selects representative heartbeats in for each view and the saves them locally as presentation states.

- The sonographer ends study

- The sonographer either sends the study manually to the archive or the system automatically forwards it to the image manager.

At the workstation

- The cardiologist  or system initiates retrieval of study from archive

- The cardiologist opens study

- System displays the study for stress review (pending on user preferences either sorted by stage or by view). Each view displayed is synchronized with the ecg associated with the respective volume data set

- The cardiologist reviews the study, eventually corrects some of the derived views and saves them

- changes the orientation to better depict wall segments

- selects a representative heart beat

- crops, zoom and pans to better visualize region of interest

- The cardiologist performs wall motion analysis.

- The cardiologist performs some quantification on the MPR views or performs the 3D quantification use case on selected volumes.

- System stores analysis results  locally

Post Conditions

  - Wall motion analysis and quantification results and (optionally) modified views have been stored locally.

Alternate Flows

  - Rather than saving presentation states at the scanner the user stores the derived views as standard DICOM ultrasound multi-frame objects with calibration information. Wall motion analysis could be performed based on these 2D objects, however further volume manipulation/view correction would not  be possible.

### Tissue Doppler Imaging Use Case

Description

Scenario

Steven Goldstein, a 55 year old patient suffering from congestive heart failure (CHF) underwent cardiac re-synchronization therapy (CRT) recently. He comes to Dr. Winter’s Echo Lab for a follow up exam.

Following the general workflow defined in Section 2.1 the sonographer performs the image acquisition (including Tissue Doppler Images) and an initial analysis at the scanner. Later on Dr. Winter retrieves the study from his PACS together with Steve’s study prior to CRT to analyze the outcome of the therapy.

Pre-Requisites

- A b-mode volume data-set and suitable Tissue Doppler volume datasets have been acquired.

Main Flow

On the scanner (initial review through sonographer):

- The sonographer opens the Tissue Doppler volume data set.

- The system displays the volume and the associated ECG waveform time synchronized

- The sonographer manipulates the volume (rotate, zoom, crop)

- The sonographer stores those MPR views locally as a presentation state.

- The sonographer performs an initial analysis of the derived views and stores the results.

- The sonographer selects a b-mode volume dataset and performs the 3D quantification use case for the left ventricle.

At the review workstation (follow up review through cardiologist)

For each view  to be analyzed:

- The cardiologist opens the current and prior volume through one of the derived views

- The system displays the views from the current and the prior study and the  derived results from the analysis.

- The user reviews the view and continues to manipulate them:

  - rotate the image

  - annotate the images

  - turn color on and off

- The user saves modified views as necessary

- The user performs analysis of the data sets

- The user continues with step 1 for the next view

Alternate Flow

  - Rather than saving presentation states at the scanner the user stores the derived views as standard DICOM ultrasound multi-frame objects with calibration information. Analysis could be performed based on these 2D objects, however further volume manipulation/view correction would not  be possible.

Post Conditions

The cardiologist compared the current and prior study, performed analysis and stored representative views.

## Use cases for future consideration

3D Echocardiography is still a pretty new technology and is clinically not yet widely used. With further use, new imaging applications and protocols will evolve. Areas that are of interest include:

- Fusion of 3D echocardiography data sets with CT data for better assessment of the morphology

- Fusion of 3D echocardiography data sets with EP lab data to overlay the electrophysiology information on top of the Echo data.

# Technical Requirements /Pre-Requisites from DICOM

## nD Presentation State requirements

- Support for Multi Planar Reconstruction with parameters like

- Plane Origin vector

- Row and Colum Vector (vectors to define orientation of the MPR)

- Slice Thickness (Do we need that?)

- Support for the blending pipeline as defined in the Enhanced Ultrasound Volume IOD (PS 3.3-2009 C.7.6.23)

- Annotations (e.g. outlines of segmented structures or other calculated values like long axis, measurement primitives drawn on image, textual annotations)

- Cropping parameters

- zoom and pan

- MPRs shall contain

- Calibration information in order to allow for measurements

- View labels to allow stress review (View Code Sequence)

- [Note: is the stage information from the original volume sufficient or do we need to add stage code sequence for volume stress use case?]

- Support for rendered views with parameters like

- Camera position and viewing direction

- Rendering algorithm: volume rendering/surface rendering/…

- Shading/lighting parameters

- Color mapping for segmented structures

- Blending information as defined in  the Enhanced Ultrasound Volume IOD (PS 3.3-2009 C.7.6.23)

- Rendering of sub-volumes

- Zoom and pan

- Annotations inside the rendered view

- Visualization of segmented structures (e.g. like LV or wall segments) by surface rendering

- Color coded display of segmented structure on its own

- Color coded display of segmented structure with surrounding tissue

- Display of rendered views/presentation states synchronized with external waveforms

- Support for animated scenes

- Changes in camera position and viewing direction (e.g. slicing through the heart or rotation around a valve to see the valve from different points of view)

- Changes in color display

- Changes in lighting parameters

- Time limit volume clips

- Applies to both, MPR views as well as volume rendered views.

- Select start and end frame. 
Note: How would that work with the associated waveforms and the time synchronized display?

## Structured Report Requirements

- Codes for volume based calculations methods need to be added to Echocardiography Volume Method (CID 12228)

- Adding Codes for specific 3D measurements

# Proposal for the 3D/4D Echo Supplement

There are two different options to define a supplement for 3D Echo workflow:

- Develop a content profile modeled after the PERF/DIFF profiles defined be IHE Radiology. This approach would address the workflow between an acquisition modality, the image manager/archive, image display and evidence creator (see Figure 4.1).

In this scenario updates to the Card-2 (Modality Images/Evidence stored) and Card-4 (Retrieve Images/Evidence) transactions would be necessary in order to address support for storage of the additional SOP Classes, potentially transfer syntaxes, and for the new Pediatric Echo SR template (TID 5300).

  - Enhanced Ultrasound Volume Storage SOP Class

  - General ECG Waveform Storage SOP Class

  - Arterial Pulse Waveform Storage SOP Class

  - Respiratory Waveform Storage  SOP Class

  - General Audio Waveform Storage  SOP Class

  - nD Presentation State

In addition to supporting some more SOP Classes, there might be some extensions to the existing Echo templates (TID 5200 and 5300 and underlying context id) necessary, to allow for the storage of 3D measurement data.

The extension to the Card-4 transaction would have to address specific requirements for the display of volume data:

  - Handling of multiple series, dealing with different frames of reference

  - Synchronized display external waveform and volume data

  - Display of volume data based on presentation state objects

  - Support for the Blending Pipeline as defined in the Enhanced US IOD

Figure 4.1: Actor/Transaction Diagram proposal for 3D Echo Workflow

- Rather than defining a new profile, support for the 3D Echocardiography images could be added as an option to the existing Echocardiography Workflow profile. This would affect the actors Acquisition Modality, Image Manager/Archive, Image Display and Evidence Creator. The Card-2 and Card-4 transactions would have to be extended with the same functionality as stated in the first solution.

Implementation wise both options would require the same amount of work, since the same requirements have to be fulfilled. The decision which option to chose should be based on general discussions within the cardiology domain, on how to handle content profiles.

# Text boxes

Evidence Creator

Acquisition Modality

Image Manager

Image Archive

Image Display

Card-3: Storage Commitment ↓

↓ Rad.14: Query Images

↓ Card 4:  Retrieve Images/
                  Evidence

↓ Card-2: Modality Images/
                 Evidence Stored

↑ Card-2: Modality Images/
                 Evidence Stored

Card-3: Storage Commitment ↑