# Purpose

## Intended Audience

## Comment Process

## Acknowledgements

# Problem Description

## Initial Problem Definition

### How Point-of-Care Identity management differs from other patient identity problems

#### Cross-institution health information exchanges.

#### In-hospital association of device data flows with patients.

## Desired State

### Reasons for creating a new profile in Patient Care Device Technical Framework

### Reasons for selecting HL7 v2.6 with use of PRT segment drawn from v2.7 and Unique Device Identifier from v2.8.2

### Other HL7 approaches that were considered but not chosen

## General device use models

### Fixed (location-based) device association

### Mobile device association

### Transient, dynamic (spot-check) device association

# Safety considerations

## Unlinked data

## Wrongly linked data

# Risk Analysis

## Requirements for associating device data with patients

## Device-Patient Association Workflows

# Introduction to Proposed Transactions

## Actors

### Device-Patient Association Reporter

### Device-Patient Association Manager

### Device-Patient Association Consumer

### Device Registrant

### Patient Registration System

## Transaction Use Cases

### Device-Patient Association Reporter to Device-Patient Association Manager

### Device-Patient Association Consumer to Device-Patient Association Manager

### Device Registrant to Device-Patient Association Manager

### A Device Registrant de-registers a device with the Association Manager

### Patient Registration System to Device-Patient Association Manager

### Device Observation Reporter to Device Observation Consumer

## Effects on the system

### Prerequisites for Association Reporter / Device-Patient Association Manager / Device-Patient Association Consumer:

### Effects on Association Reporter:

### Effects of Association and Disassociation Messages on Device-Patient Association Manager:

### Effects of Association and Disassociation Messages on Device-Patient Association Consumer:

### Overall Effects – Operational Considerations

### Overall Effects – Organizational Considerations

### Overall Effects – Implementation Considerations

## Handling of Exception Cases

### Conflict Detection and Handling

### One-click Override of known bad association

### Correction messages

### Use of time stamps to detect questionable associations

### System engineering considerations to ensure that the Device Patient Association Manager serves up accurate records:

# Next Steps

Proposed Messages

Report Device-Patient Association

Message Structure

Segments

MSH – Message Header

PID – Patient Identification

PV1 Patient Visit Information

OBR – Order Request

OBX – Observation (for Patient ID)

PRT – Participation (Observation Participation)

Example Messages

Query: Device-Patient Associations Query Message

Scope

Use Case Roles

Query Message

MSH Segment

QPD Segment

RCP Segment

Query Response Message

MSH Segment

MSA Segment

QAK Segment

QPD Segment

Remaining Segments

Use Cases from HL7 Detailed Clinical Models for Medical Devices

Associate the Medical Device with a Patient by Identifier and Point-of-Care

Associate the Medical Device with a Patient by Selecting Patient on Device

Pre-Conditions

Main Scenario

Post-Conditions

Associate the Medical Device with a Patient by Patient Identifier Only

Pre-Conditions

Main Scenario

Post-Conditions

Security Considerations in the Use of This Proposed Profile

General IHE PCD Guidance

Risk Assessment and Mitigation for Proposed Device-Patient Association Profile

Implications of the Security Risk Analysis

Glossary

References