Minutes
Discrete Positioning and Delivery Workflow (DPDW)

Conference Call
November 18, 2014
11:00am – 12:30pm EST

DPDW Subgroup Chair:

Thomas Schwere, Varian Medical Systems
(thomas.schwere@varian.com)
IHERO Task Force Co-Chairs

Dick Fraass, Ph.D., FAAPM, FASTRO, FACR

John Buatti, MD
Mission Statement:  The American Society for Radiology Oncology (ASTRO) has formed a multi-society Task Force to undertake an initiative to promote the Integration of the Healthcare Enterprise (IHE) – Radiation Oncology (RO), fostering seamless connectivity and integration of radiotherapy equipment and the patient health information systems. The Task Force will include members from ASTRO, RSNA, American Association of Physicists in Medicine (AAPM), the American College of Radiology (ACR) and the Medical Imaging and Technology Alliance (MITA). In addition, members of the International community have also been invited to participate in IHE-RO. The IHE-RO Task Force, in close collaboration with radiotherapy product manufacturers, will develop appropriate integration profiles for radiation therapy and setup a demonstration of seamless communication among the full array of radiotherapy products.
In Attendance:
Crystal Carter (ASTRO)

Ulrich Busch (Varian)

Thomas Schwere (Varian)
Sanjay Bari (Elekta)
Chris Pauer (Accuray)
Martin Vonach (Brainlab)

Harold Beunk (ICT)
Bruce Curran (Brown Univ. / ASTRO)
Luiza Kowalczyk (Medical Imaging)
1. Call to Order

The meeting was started at 11:00 EST.
2. Transactions
C. Pauer noticed that his changes on transaction RO-DPD-210 are not included in the latest version available on the IHE-RO wiki. T. Schwere mentioned that those changes are only available in the working version of the profile. The working version will be uploaded more frequently in the future.
C. Pauer went through transaction RO-DPD-223:
· Spelling of transaction needs to be unified throughout the document. (Done)
· The group did some minor improvements in the wording.
· At some places the profile uses UWPS as abbreviation for «Unified Worklist Procedure Step». The group agreed on using the official term UPS instead. All occurrences of UWPS have been replaced by UPS.

· The group again debated on the separation of PPRS and PPCRS. Even though those two actors will most likely be combined in one single actor in real environments, the group adhered to that separation.

· The group discussed the required input objects for RO-DPD-223:

· Spatial Registration

· Acquired images

· Reference images

· Patient Position Correction Instruction as initially created by TMS

· Device Position Information

The first three objects are required to visualize the registered situation and to allow the determination what correction should finally be applied.

The Device Position Information is needed to calculate the final target position.

· DPDW 2 Scenario 2 to include loading of general input objects (i.e. RO-18).

· RO-DPD-201 (Retrieve Device Position Information) ends in TSM. The assumption is that TSM already has a connection to PPD. Details of this need to be sorted out when working on transaction RO-DPD-201. (Created an open issue for this.)

3. General Design Topics
3.1. New Workflow Notification Service
Application Hosting Service:

H. Beunk informed the group that the Application Hosting Service cannot be used as is. He will distribute a memo including a proposal how this service could be extended and utilized in the DPDW profile. The memo will be discussed in the next call.

4. Face-to-Face Meeting
The group again discussed possible dates and locations. It turned out that March 23 to March 27 2015 in Washington would be the best option. T. Schwere to create a doodle and send out the announcement of that meeting so people can subscribe in the doodle.

5. Other Business
5.1. Next DPDW TCon
· Tuesday, December 16, 2014
11:00am – 12:30pm EST.
6. Adjournment

The meeting was adjourned at 12:30 EST.

Appendix A: Administration and Process Information
Documents are published at the following locations. If you have problems in accessing the document, please contact the Chair (ulrich.busch@varian.com).
Process of Authoring:

Steps:

1. Download a local copy of the document from locations below
2. Open this copy and remove all change bars

3. Ensure, that Changes Bars are switched on

4. Make your changes
5. Provide the updated version to the Chair


Location of Documents:
DPDW Subgroup Minutes
http://wiki.ihe.net/index.php?title=RO_DPDW_WorkingGroup
DPDW Profile
The DPDW Profile is an IHE-RO document.

The current version is available in the IHE-RO Org Wiki:
http://www.ihe-ro.org/
Please find the current document under this page:

http://www.ihe-ro.org/doku.php?id=doc:profiles
Supp 160
DICOM Supplement 160 (Patient Positioning and Workflow) in s DICOM WG-07 document. 
The current version is available at the DICOM ftp server:

ftp://d9-workgrps:goimagego@medical.nema.org/MEDICAL/Private/Dicom/WORKGRPS/WG07/Supp160

Mailing List:
The mailing list for the DPDW subgroup is:
iherodpdw2014@mail.aapm.org
Appendix B: Task Assignments
Per end this TCon (2014-09-30).
	No
	TX / Area
	Old Number
	Title
	Group
	Owner

	1
	./.
	./.
	Use Case Delivery-Device Independent Imaging
	 
	David Wikler

	2
	RO-DPD-200
	RO-DPD-01
	Worklist Query for Positioning Acquisition
	Acquisition
	Martin Vonach

	3
	RO-DPD-201
	RO-DPD-02
	Retrieve Device Position Information
	Acquisition
	Martin Vonach

	4
	RO-DPD-202
	RO-DPD-03
	Request RT Patient Position Correction
	Correction
	Martin Vonach

	5
	RO-DPD-203
	RO-DPD-04
	Store RT Patient Position Modification Instruction
	Correction
	Martin Vonach

	6
	RO-DPD-204
	RO-DPD-05
	Store RT Repositioning Results to Object Storage
	Correction
	Martin Vonach

	7
	RO-DPD-205
	RO-DPD-06
	Worklist Query for Repositioning
	Correction
	Martin Vonach

	8
	RO-DPD-206
	RO-DPD-07
	Notify on Radiation Delivery Status Change
	Delivery
	Thomas Schwere, Sanjay Bari

	9
	RO-DPD-207
	RO-DPD-08
	Retrieve RT Patient Position Correction Instruction
	Correction
	Martin Vonach

	10
	RO-DPD-208
	RO-DPD-09
	Subscribe/Unsubscribe to Treat UPS Status
	UPS Notification
	Thomas Schwere

	11
	RO-DPD-209
	RO-DPD-10
	Notify on Radiation State
	Delivery
	Thomas Schwere, Sanjay Bari

	12
	RO-DPD-210
	RO-DPD-11
	Retrieve Positioning Acquisition Results
	Registration
	Chris Pauers

	13
	RO-DPD-211
	RO-DPD-12
	Worklist Query for Positioning Registration
	Registration
	Chris Pauers

	14
	RO-DPD-212
	RO-DPD-13
	Worklist Query for Position Monitoring
	Monitoring
	Stephen Phillips 

	15
	RO-DPD-213
	RO-DPD-16
	Store Monitoring Results to Object Storage
	Monitoring
	Stephen Phillips 

	16
	RO-DPD-214
	RO-DPD-17
	UPS Final Update at Session Termination
	Framework
	Thomas Schwere, Sanjay Bari

	17
	RO-DPD-215
	RO-DPD-18
	UPS Completed / Cancelled at Session Termination
	Framework
	Thomas Schwere, Sanjay Bari

	18
	RO-DPD-216
	RO-DPD-19
	Indicate Ready for Monitoring
	Monitoring
	Stephen Phillips 

	19
	RO-DPD-217
	RO-DPD-20
	Notify Device to start UPS
	UPS Notification
	Thomas Schwere, Sanjay Bari

	20
	RO-DPD-218
	RO-DPD-21
	Create Positioning Acquisition and Positioning Registration UPS
	Workflow
	Thomas Schwere

	21
	RO-DPD-219
	RO-DPD-22
	Create Treat UPS and Radiation Delivery Instruction for Continuation
	Workflow
	Thomas Schwere

	22
	RO-DPD-220
	RO-DPD-23
	Notify Treatment Session Actors on Starting Session
	UPS Notification
	Thomas Schwere, Sanjay Bari

	23
	RO-DPD-221
	RO-DPD-24
	Notify Device to stop UPS
	UPS Notification
	Thomas Schwere, Sanjay Bari

	24
	RO-DPD-222
	RO-DPD-25
	UPS Progress Update for Discrete non-Treatment Steps
	UPS Notification
	Thomas Schwere, Sanjay Bari

	25
	RO-DPD-223
	RO-DPD-26
	Worklist Query for Positioning Correction Reconciliation
	Registration
	Chris Pauers

	26
	RO-DPD-224
	RO-DPD-27
	External Verification
	External Verification
	Sanjay Bari

	27
	RO-DPD-225
	./.
	Notify Device to resume UPS 
	Monitoring
	Stephen Phillips 

	28
	RO-DPD-226
	./.
	Create new Positioning UPS
	Monitoring
	Stephen Phillips 

	29
	RO-DPD-227
	./.
	UPS Final Update after Positioning Information Acquisition
	Workflow
	

	30
	RO-DPD-228
	./.
	UPS Final Update after Treatment Interruption
	Workflow
	Thomas Schwere


