## MFN_M08
Message | Segment | Name | Usage | Cardinality | Description | DELTA | Usage | Cardinality | Description | Usage | Cardinality | Description | Usage | Cardinality | Description
HL7 message segment Info |  |  | MFN^M08^MFN_M08 – Master File Notification – Test/Observation - eDOS |  |  |  | MFN^M08^MFN_M08 – Master File Notification – Test/Observation (Numeric) - IHE PROFILE |  |  | MFN^M09^MFN_M09 – Master File Notification – Test/Observation (Categorical) - IHE PROFILE |  |  | MFN^M08^MFN_M11 – Master File Notification – Test/Observation (Calculated) - IHE PROFILE
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | MSH | Message Header | R | [1..1] |  |  | R | [1..1] |  | R | [1..1] |  | R | [1..1]
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | [{SFT}] | Software | O |  |  | IHE Profile to O or eDOS to X | X | [0..0] |  | X | [0..0] |  | X | [0..0]
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | MFI | Master File Identification | R | [1..1] | MFI-1 SHALL be valued "OMA" or "OMM". | eDOS would need to consider to support the differentiation between numeric (M08), categorical (M09) and calculated (currently not supported) like IHE profile / base | R | [1..1] | MF1-1 SHALL contain OMA | R | [1..1] | MFI-1 SHALL contain the value "OMB". | R | [1..1] | MFI-1 SHALL contain the value "OMD".
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | { | MF TEST Begin | R | [1..*] |  |  | R | [1..*] |  | R | [1..*] |  | R | [1..*]
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | MFE | Master File Entry | R | [1..1] |  |  | R | [1..1] |  | R | [1..1] |  | R | [1..1] | MFI-1 SHALL contain the value "OMD".
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | OM1 | General Segment (Fields That Apply to Most Observations) | R | [1..1] |  |  | R | [1..1] |  | R | [1..1] |  | R | [1..1]
MFN^M08^MFN_M08 | [{OMC}] | Supporting Clinical Information Segment | RE | [1..*] | added in R2D2; Pre-adopted from v2.8.2 | impact on IHE profile? | N/A | N/A |  | N/A | N/A |  | N/A | N/A
MFN^M08^MFN_M08 | [{PRT}] | Participation | O |  | added in R2D2; Pre-adopted from v2.8.2 | impact on IHE profile? | N/A | N/A |  | N/A | N/A |  | N/A | N/A
MFN^M08^MFN_M09 MFN^M08^MFN_M11 | [ | MF_TEST_CAT_DETAIL Begin or MF_TEST_CALCT_DETAIL Begin | N/A | N/A |  |  | N/A | N/A |  | 0 | [0..1] |  | 0 | [0..1]
MFN^M08^MFN_M11 | OM6 | Observations calculated from other observations | N/A | N/A |  |  | N/A | N/A |  | N/A | N/A |  | 0 | [0..1]
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | OM2 | Numeric Observation Segment | RE | [0..1] |  |  | O | [0..1] |  |  |  |  | 0 | [0..1]
MFN^M08^MFN_M08 | OM3 | Categorical Service/Test/Observation Segment | RE | [0..1] |  | IHE profile would need to change usage from X to O | X | [0..0] |  | R | [1..1] |  | N/A | N/A
MFN^M08^MFN_M08 MFN^M08^MFN_M09 | [{OM4}] | Observations that Require Specimens | RE | [0..*] | Pre-adopted cardinality from V2.8 | impact on IHE profile? | O | [0..1] |  | RE | [0..*] |  | N/A | N/A
MFN^M08^MFN_M09 MFN^M08^MFN_M11 | ] | MF_TEST_CAT_DETAIL End or MF_TEST_CALCT_DETAIL End | N/A | N/A |  |  | N/A | N/A
MFN^M08^MFN_M08 MFN^M08^MFN_M09 MFN^M08^MFN_M11 | } | MF TEST End

## MFN_M10
Message | Segment | Name | Usage | Cardinality | Description | DELTA | Usage | Cardinality | Description
HL7 message segment Info |  |  | MFN^M10^MFN_M10 – Master File Notification – Test/Observation Batteries |  |  |  | MFN^M10^MFN_M10 – Master File Notification – Test/Observation Batteries - IHE PROFILE
MFN^M08^MFN_M10 | MSH | Message Header | R | [1..1] |  |  | R | [1..1]
MFN^M08^MFN_M10 | [{SFT}] | Software | O |  |  | IHE profile to O, or eDOS to X | X | [0..0]
MFN^M08^MFN_M10 | MFI | Master File Identification | R | [1..1] |  |  | R | [1..1] | MFI-1 SHALL contain the value "OMC".
MFN^M08^MFN_M10 | { | MF BATTERY Begin | R | [1..*] |  |  | R | [1..*]
MFN^M08^MFN_M10 | MFE | Master File Entry | R | [1..1] |  |  | R | [1..1]
MFN^M08^MFN_M10 | OM1 | General Segment (Fields That Apply to Most Observations) | R | [1..1] |  |  | R | [1..1]
MFN^M08^MFN_M08 | [{PRT}] | Participation | O |  | added in R2D2; pre-adopted from v2.8.2 | impact on IHE profile? | N/A | N/A
MFN^M08^MFN_M10 |  | BATTERY DETAIL Begin | R | [1..1] |  |  | RE | [0..1]
MFN^M08^MFN_M10 | OM5 | Observation Batteries (sets) | R | [1..1] |  |  | R | [1..1]
MFN^M08^MFN_M10 | [{OM4}] | Observations that Require Specimens | RE | [0..*] |  |  | O | [0..*]
MFN^M08^MFN_M10 |  | BATTERY DETAIL End
MFN^M08^MFN_M10 | } | MF BATTERY End

## MSH
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | MSH - MESSAGE HEADER SEGMENT eDOS | [8 empty] | MSH - MESSAGE HEADER SEGMENT IHE Profile
MSH.1 | Field Separator | ST | R | R | [1..1] |  |  |  |  | IHE Profile has typo - should be ST per base | SI | R | [1..1]
MSH.2 | Encoding Characters | ST | R | R | [1..1] | [5 empty] | ST | R | [1..1]
MSH.3 | Sending Application | HD_GU/HD_NG | RE | RE | [0..1] |  |  | HL70361_USL |  | IHE profile to RE, or eDOS to R | HD | R | [1..1] |  |  | HL70361
MSH.3.1 | Namespace ID | IS | RE | C(R/O) | [6 empty] | IS | RE
MSH.3.2 | Universal ID | ST | R | C(R/O) | [6 empty] | ST | R
MSH.3.3 | Universal ID Type | ID | R | C(R/X) |  |  |  | HL70301 (V2.7.1) |  |  | ID | R |  |  |  | HL70301 (V2.7.1)
MSH.4 | Sending Facility | HD_GU/HD_NG | R | R | [1..1] |  |  | HL70362_USL |  |  | HD | R | [1..1] |  |  | HL70362
MSH.4.1 | Namespace ID | IS | RE | C(R/O) | [6 empty] | IS | RE
MSH.4.2 | Universal ID | ST | R | C(R/O) | [6 empty] | ST | R
MSH.4.3 | Universal ID Type | ID | R | C(R/X) |  |  |  | HL70301 (V2.7.1) |  |  | ID | R |  |  |  | HL70301 (V2.7.1)
MSH.5 | Receiving Application |  | O | O | [5 empty] | IHE profile to O, or eDOS to R | HD | R | [1..1] |  |  | HL70362
MSH.5.1 | Namespace ID | [9 empty] | IS | RE
MSH.5.2 | Universal ID | [9 empty] | ST | R
MSH.5.3 | Universal ID Type | [6 empty] | HL70301 (V2.7.1) |  |  | ID | R |  |  |  | HL70301 (V2.7.1)
MSH.6 | Receiving Facility | HD_GU/HD_NG | RE | RE | [0..1] |  |  | HL70362_USL |  | IHE profile to RE, or eDOS to R | HD | R | [1..1] |  |  | HL70362
MSH.6.1 | Namespace ID | IS | RE | C(R/O) | [6 empty] | IS | RE
MSH.6.2 | Universal ID | ST | R | C(R/O) | [6 empty] | ST | R
MSH.6.3 | Universal ID Type | ID | R | C(R/X) |  |  |  | HL70301 (V2.7.1) |  |  | ID | R |  |  |  | HL70301 (V2.7.1)
MSH.7 | Date/Time Of Message | TS_1 | R | R | [1..1] | [5 empty] | TS | R | [1..1]
MSH.7.1 | Time | DTM | R | R | [6 empty] | DTM | R
MSH.8 | Security |  | X | X | [7 empty] | X
MSH.9 | Message Type | MSG | R | R | [1..1] | [5 empty] | MSG | R | [1..1]
MSH.9.1 | Message Code | ID | R | R |  |  |  | HL70076 (constrained) |  |  | ID | R |  |  |  | HL70076 (constrained)
MSH.9.2 | Trigger Event | ID | R | R |  |  |  | HL70003 (constrained) |  |  | ID | R |  |  |  | HL70003 (constrained)
MSH.9.3 | Message Structure | ID | R | R |  |  |  | HL70354 (constrained) |  |  | ID | R |  |  |  | HL70354 (constrained)
MSH.10 | Message Control ID | ST | R | R | [1..1] | [5 empty] | ST | R | [1..1]
MSH.11 | Processing ID | PT | R | R | [1..1] | [5 empty] | PT | R | [1..1]
MSH.11.1 | Processing ID | ID | R | R |  |  |  | HL70103 |  |  | ID | R |  |  |  | HL70103
MSH.12 | VersionID | VID | R | R | [1..1] |  |  |  | eDOS handels the value set binding here as Conformance statements for each message type |  | VID | R | [1..1] |  |  | HL70104 (constrained)
MSH.12.1 | Version ID | ID | R | R | [6 empty] | ID | R
MSH.13 | Sequence Number |  | O | O | [7 empty] | O
MSH.14 | Continuation Pointer |  | O | O | [7 empty] | O
MSH.15 | Accept Acknowledgment Type |  | O | O | [5 empty] | IHE profile to O, or eDOS to X | ID | X | [1..1] |  |  | HL70155
MSH.16 | Application Acknowledgment Type |  | O | O | [5 empty] | IHE profile to O, or eDOS to X | ID | X | [1..1] |  |  | HL70155
MSH.17 | Country Code |  | O | O | [5 empty] | IHE profile to O, or eDOS to RE | ID | RE | [0..1] |  |  | HL70399
MSH.18 | Character Set |  | O | O | [5 empty] | Not sure this is computable from the message, so change IHE profile to RE and list this as business rule AND change eDOS to RE, OR change IHE Profile to O | ID | C | [0..1] |  |  | HL70211 | CP: When he message uses a different set than 7-bit ASCII character Set
MSH.19 | Princiapl Language of Message |  | O | O | [5 empty] | IHE profile to O, or eDOS to RE | CE | RE | [0..1] |  |  |  | Coded from ISO 639
MSH.20 | Alternate Character Set Handling Scheme |  | O | O | [5 empty] | IHE profile to O, or eDOS to C | ID | C | [0..1] |  |  | HL70356 | CP: When MSH-18 is valued
MSH.21 | Message Profile Identifier | EI_GU | R | R | [1..*] | [5 empty] | EI | R | [1..*]
MSH.21.1 | Entity Identifier | ST | R | R | [6 empty] | ST | R
MSH.21.2 | Namespace ID | IS | RE | C(R/O) | [6 empty] | IS | RE
MSH.21.3 | Universal ID | ST | R | C(R/O) | [6 empty] | ST | R
MSH.21.4 | Universal ID Type | ID | R | C(R/X) |  |  |  | HL70301 (V2.7.1) |  |  | ID | R |  |  |  | HL70301 (V2.7.1)

## MFI
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | MFI - MASTER FILE IDENTIFICATION SEGMENT eDOS | [8 empty] | MFI - MASTER FILE IDENTIFICATION SEGMENT IHE Profile
MFI.1 | Master File Identifier | CWE | R | R | [1..1] |  |  | HL70175_USL |  | eDOS uses CWE here - so in IHE profile no support after the first 6 components - impact? | CE | R | [1..1] |  |  | HL70175 | ValueSet = OMA, OMB, OMC, OMD
MFI.1.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST
MFI.1.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST
MFI.1.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID |  |  |  |  | HL70396
MFI.1.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
MFI.1.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
MFI.2 | Master File Application Identifier |  | O | O | [5 empty] | IHE Profile to O or eDOS to R Not sure what this is for - discuss | HD | R | [1..1] |  |  |  | Concatenate values from "MSH-3.1" + "_" + "MFI-1.1" + "_" + 'MSH-19" + optionally "_" + "version descriptor of code set
MFI.3 | File-Level Event Code | ID | R | R | [1..1] |  |  | HL70178_USL |  | IHE Profile only supports Replace, not update - discuss | ID | R | [1..1] |  |  | HL70178 | SHALL contain "REP"
MFI.4 | Entered Date/Time |  | O | O | [6 empty] | TS | O | [0..1]
MFI.5 | Effective Date/Time |  | X | X | [5 empty] | IHE Profile to O or eDOS to R | TS | R | [1..1]
MFI.6 | Response Level Code | ID | R | R | [1..1] |  |  | HL70179_USL |  | IHE Profile only supports on Error - need to discuss | ID | R | [1..1] |  |  | HL70179 | SHALL contain "ER"

## MFE
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | MFE - MASTER FILE ENTRY SEGMENT eDOS | [8 empty] | MFE - MASTER FILE ENTRY SEGMENT IHE Profile
MFE.1 | Record-Level Event Code | ID | R | R | [1..1] |  |  | HL70180_USL | Value Set required = MAD MUP MDC MAC | IHE Profile limits to "MAD" | ID | R | [1..1] |  |  | HL70180 (constrained) | SHALL contain "MAD"
MFE.2 | MFN Control ID | ST | C(R/O) | C(R/O) | [0..1] | 20 |  |  |  | Depends on resolution for allowed values in MFI-6 | ST | R | [1..1] | 20
MFE.3 | Effective Date/Time | TS_1 | R | R | [1..1] | [5 empty] | TS | O | [0..1]
MFE.3.1 | Time | DTM | R | R | [6 empty] | DTM | R
MFE.4 | Primary Key Value - MFE | CWE_RC | R | R | [1..1] |  |  | 9999 |  | Per description this is CE for first 3 components - difference to eDOS is in CWE.7 | Varies | R | [1..1] |  |  | 9999
MFE.4.1 | Identifier | ST | R | R |  | 20 |  |  |  |  | ST | R |  | 20
MFE.4.2 | Text | ST | R | R | [6 empty] | ST | R
MFE.4.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
MFE.4.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
MFE.5 | Primary Key Value Type | ID | R | R | [1..1] |  |  |  | SHALL be valued "CWE" drawn from HL7 Table HL70355. | Fixed value "CE" in IHE, "CWE" in eDOS. | ID | R | [1..1] |  |  | HL70355 (constrained)

## NTE
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | NTE - NOTES AND COMMENTS SEGMENT eDOS | [8 empty] | NTE - NOTES AND COMMENTS SEGMENT IHE Profile
NTE.1 | Set ID - NTE | SI | R | R | [1..1] | [5 empty] | SI | R | [1..1]
NTE.2 | Source of comment |  | O | O | [5 empty] | IHE Profile to O or eDOS to RE and review the value set | ID | RE | [0..1] |  |  | Listed values: L = Order Filler P = Order Placer A = Automation or Analyzer Manger Z = Analyzer O = Other
NTE.3 | Comment | FT | R | R | [1..*] | [5 empty] | FT | RE | [0..1]
NTE.4 | Comment Type |  | O | O | [5 empty] | IHE Profile to O or eDOS to RE and review the value set | CE | RE | [0..1] |  |  | Listed values: I = Internal Remark - do not send outside of lab C = for medical staff P = medical staff and patient
NTE.4.1 | Identifier | ST | O
NTE.4.2 | Text | ST | O
NTE.4.3 | Name of Coding System | ID | O |  |  |  |  | HL70396
NTE.4.4 | Alternate Identifier | ST | O
NTE.4.5 | Alternate Text | ST | O
NTE.4.6 | Name of Alternate Coding System | ID | O |  |  |  |  | HL70396

## OM1
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | GU Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | OM1 - CHARGE DESCRIPTION MASTER SEGMENT eDOS | [8 empty] | OM1 - CHARGE DESCRIPTION MASTER SEGMENT IHE Profile
OM1.1 | Sequence Number - Test/Observation Master File | NM | R | R | [1..1] | [5 empty] | NM | R | [1..1]
OM1.2 | Producer's Service/Test/Observation ID | CWE_RC | R | R | [1..1] |  |  | 9999 |  | Per IHE example supports the first 3 elements of the CE - which adds ONLY the CWE.7 as RE delta - impact? | CE | R | [1..1]
OM1.2.1 | Identifier | ST | R | R | [6 empty] | ST | R
OM1.2.2 | Text | ST | R | R | [6 empty] | ST | R
OM1.2.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
OM1.2.7 | Coding System Version ID | ST | RE | RE | [6 empty] | ST | RE
OM1.3 | Permitted Data Types |  | O | O | [6 empty] | ID | O | [0..*] |  |  | HL70125 | M08, M10, M11: should contain numerial, date or timestamp data types M09: Should contain other than numerical, date/time stamp datatypes
OM1.4 | Specimen Required | ID | R | R | [1..1] |  |  | HL70136 |  |  | ID | R | [1..1] |  |  | HL70136
OM1.5 | Producer ID | CWE | R | R | [1..1] |  |  | 9999 |  | eDOS uses CWE here - in IHE profile only the first 3 are required, no support after the first 6 components - impact? | CE | R | [1..1]
OM1.5.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM1.5.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM1.5.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.5.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.5.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.6 | Observation Description |  | O | O | [7 empty] | O | [0..0]
OM1.7 | Other Service/Test/Observation IDs for the Observation | CWE_RC | RE | RE | [0..*] |  |  | 9999 |  | eDOS uses CWE here - so in IHE profile no support after the first 6 components - impact? | CE | O | [0..*]
OM1.7.1 | Identifier | ST | R | R | [6 empty] | ST | R
OM1.7.2 | Text | ST | R | R | [6 empty] | ST | R
OM1.7.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
OM1.7.7 | Coding System Version ID | ST | RE | RE | [6 empty] | ST | RE
OM1.8 | Other Names |  | X | X | [5 empty] | IHE profile to O, or eDOS to R | ST | R | [1..*]
OM1.9 | Preferred Report Name for the Observation | ST | RE | RE | [0..1] | [5 empty] | ST | O | [0..0]
OM1.10 | Preferred Short Name on Mnemonic for Observation | ST | C(R/O) | C(R/O) | [0..1] | [5 empty] | ST | O | [0..0]
OM1.11 | Preferred Long Name for the Observation | ST | C(R/O) | C(R/O) | [0..1] | [5 empty] | ST | O | [0..0]
OM1.12 | Orderability | ID | R | R | [1..1] |  |  | HL70136 |  |  | ID | O | [0..1] |  |  | HL70136
OM1.13 | Identify of Instrument Used to Perform this Study |  | O | O | [6 empty] | ST | O | [0..0]
OM1.14 | Coded Representation of Method |  | O | O | [6 empty] | ST | O | [0..0]
OM1.15 | Protable Device ndicator |  | O | O | [6 empty] | ST | O | [0..0]
OM1.16 | Observation Producing Department/Section |  | O | O | [6 empty] | ST | O | [0..0]
OM1.17 | Telephone Number of Section |  | O | O | [6 empty] | ST | O | [0..0]
OM1.18 | Nature of Service/Test/Observation | IS | R | R | [1..1] |  |  | HL70174 |  |  | IS | R | [1..1] |  |  | HL70174 | M08, M09: "A" M10: "P", "F", "S" M11: "C"
OM1.19 | Report Subheader |  | O | O | [5 empty] | IHE profile to O, or eDOS to RE | CE | RE | [0..1] |  |  | 9999
OM1.20 | Report Display Order |  | O | O | [5 empty] | IHE profile to O, or eDOS to RE | ST | RE | [0..1]
OM1.21 | Date/Time Stamp for any change in Definition for the Observation |  | O | O | [7 empty] | O | [0..0]
OM1.22 | Effective Date/Time of Change | DTM | O | O | [0..1] | [5 empty] | DTM | O | [0..0]
OM1.23 | Typical Turn-Around Time | NM | X | X | [0..1] | [5 empty] | NM | O | [0..0]
OM1.24 | Processing Time |  | O | O | [7 empty] | O | [0..0]
OM1.25 | Processing Priority |  | O | O | [7 empty] | O | [0..0]
OM1.26 | Reporting Priority |  | O | O | [7 empty] | O | [0..0]
OM1.27 | Outside Site(s) Where Observation may be Performed |  | X | X | [0..0] |  |  | 9999 |  |  |  | O | [0..0] |  |  | 9999
OM1.27.1 | Identifier |  | C(R/O) | C(R/O) | [7 empty] | X | [0..0]
OM1.27.2 | Text |  | C(R/RE) | C(R/RE) | [7 empty] | X | [0..0]
OM1.27.3 | Name of Coding System |  | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  |  | X | [0..0] |  |  | HL70396
OM1.27.7 | Coding System Version ID |  | C(RE/X) | C(RE/X) | [7 empty] | X | [0..0]
OM1.27.8 | Alternate Coding System Version ID |  | C(RE/X) | C(RE/X) | [7 empty] | X | [0..0]
OM1.28 | Address of Outside Site(s) |  | X | X | [0..0] | [6 empty] | O | [0..0]
OM1.28.1 | Street Address | SAD | RE | RE | [6 empty] | SAD | X | [0..0]
OM1.28.1.1 | Street or Mailing Address | ST | R | R | [6 empty] | ST | X | [0..0]
OM1.28.2 | Other Designation | ST | O | O | [6 empty] | ST | X | [0..0]
OM1.28.3 | City | ST | RE | RE | [6 empty] | ST | X | [0..0]
OM1.28.4 | State or Province | ST | RE | RE |  |  |  | USPS Alpha State Codes |  |  | ST | X | [0..0] |  |  | USPS Alpha State Codes
OM1.28.5 | Zip or Postal Code | ST | RE | RE | [6 empty] | ST | X | [0..0]
OM1.28.6 | Country Code | ID | RE | RE |  |  |  | HL70399 |  |  | ID | X | [0..0] |  |  | HL70399
OM1.28.7 | Address Type | ID | RE | RE |  |  |  | HL70190 |  |  | ID | X | [0..0] |  |  | HL70190
OM1.28.9 | County/Parish Code | IS | O | O | [6 empty] | IS | X | [0..0]
OM1.29 | Phone Number of Outside Site |  | X | X | [0..0] | [6 empty] | O | [0..0]
OM1..30 | Confidentiality Code |  | O | O | [6 empty] | CWE | O | [0..1] |  |  | HL70177 | Listed values: "V = Very restricted, R = Restricted, U = Usual control
OM1.31 | Observations Required to Interpret the Observation | CWE | RE | RE | [0..*] |  |  | 9999 |  | eDOS uses CWE here - so in IHE profile no support after the first 6 components - impact? | CE | O | [0..*] |  |  | 9999
OM1.31.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM1.31.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM1.31.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.31.4 | Alternate Identifier |  | O | O | [7 empty] | O
OM1.31.5 | Alternate Text |  | O | O | [7 empty] | O
OM1.31.6 | Name of Alternate Coding System |  | O | O | [7 empty] | O
OM1.31.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.31.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.31.9 | Original Text |  | O | O | [7 empty] | O
OM1.31.9 | Original Text |  | O | O | [7 empty] | O
OM1.32 | Interpretation of Observations | TX | RE | RE | [0..1] | [5 empty] | TX | O | [0..0]
OM1.33 | Contraindications to Observations | CWE | RE | RE | [0..*] |  |  | 9999 |  |  | CWE | O | [0..0] |  |  | 9999
OM1.33.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM1.33.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM1.33.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.33.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.33.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.34 | Reflex Tests/Observations | CWE_RC1 | RE | RE | [0..*] |  |  | 9999 |  |  | CWE_RC1 | O | [0..0] |  |  | 9999
OM1.34.1 | Identifier | ST | R | R | [6 empty] | ST | R
OM1.34.2 | Text | ST | R | R | [6 empty] | ST | R
OM1.34.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
OM1.34.4 | Alternate Identifier | ST | RE | RE | [6 empty] | ST | RE
OM1.34.5 | Alternate Text | ST | RE | RE | [6 empty] | ST | RE
OM1.34.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X) | [6 empty] | ID | C(R/X)
OM1.34.7 | Coding System Version ID | ST | RE | RE | [6 empty] | ST | RE
OM1.34.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.34.9 | Original Text | ST | O | O | [6 empty] | ST | O
OM1.35 | Rules that Trigger Reflex Testing | TX | RE | RE | [0..*] | [5 empty] | TX | O | [0..0]
OM1.36 | Fixed Canned Message |  | O | O | [7 empty] | O | [0..0]
OM1.37 | Patient Preparation | TX | RE | RE | [0..*] | [5 empty] | TX | O | [0..0]
OM1.38 | Procedure Medication |  | O | O | [7 empty] | O | [0..0]
OM1.39 | Factors that may Affect the Observation | TX | RE | RE | [0..1] | [5 empty] | TX | O | [0..0]
OM1.40 | Service/Test/Observation Performance Schedule | ST | RE | RE | [0..*] | [5 empty] | ST | O | [0..0]
OM1.41 | description of Test Methods |  | O | O | [7 empty] | O | [0..0]
OM1.42 | Kind of Quantity Observed |  | O | O | [7 empty] | O | [0..0]
OM1.43 | Point Versus Interval |  | O | O | [7 empty] | O | [0..0]
OM1.44 | Challenge Information |  | O | O | [7 empty] | O | [0..0]
OM1.45 | Relationship Modifier |  | O | O | [7 empty] | O | [0..0]
OM1.46 | Target Anatomic Site of Test |  | O | O | [7 empty] | O | [0..0]
OM1.47 | Modality of Imaging Measurement |  | O | O | [7 empty] | O | [0..0]
OM1.48 | Exclusive Test | ID | RE | RE | [0..1] |  |  | HL70919 |  |  | ID | O | [0..0] |  |  | HL70919
OM1.49 | Diagnostic Service Sector ID | ID | RE | RE | [0..1] |  |  | HL70074 |  |  | ID | O | [0..0] |  |  | HL70074
OM1.50 | Taxonomic Classification Code |  | O | O | [7 empty] | O | [0..0]
OM1.51 | Other Names | ST | RE | RE | [0..*] | [5 empty] | ST | O | [0..0]
OM1.52 | Replacement Producer's Service/Test/Observation ID | CWE_RC | C(RE/O) | C(RE/O) | [0..*] |  |  | 9999 |  |  | CWE_RC | O | [0..0] |  |  | 9999
OM1.52.1 | Identifier | ST | R | R | [6 empty] | ST | R
OM1.52.2 | Text | ST | R | R | [6 empty] | ST | R
OM1.52.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
OM1.52.4 | Alternate Identifier | ST | RE | RE | [6 empty] | ST | RE
OM1.52.5 | Alternate Text | ST | RE | RE | [6 empty] | ST | RE
OM1.52.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X) | [6 empty] | ID | C(R/X)
OM1.52.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.52.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.52.9 | Original Text | ST | O | O | [6 empty] | ST | O
OM1.53 | Prior Results Instructions | TX | RE | RE | [0..*] | [5 empty] | TX | O | [0..0]
OM1.54 | Special Instructions | TX | RE | RE | [0..*] | [5 empty] | TX | O | [0..0]
OM1.55 | Test Relationship Category | CWE | RE | RE | [0..*] | [5 empty] | CWE | O | [0..0]
OM1.55.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM1.55.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM1.55.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.55.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.55.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.56 | Observation Identifier associated with Producer's Service/Test/Observation ID | CWE_CR | RE | RE | [0..1] |  |  | 9999 |  |  | CWE_CR | O | [0..0] |  |  | 9999
OM1.56.1 | Identifier | ST | R | R | [6 empty] | ST | R
OM1.56.2 | Text | ST | RE | RE | [6 empty] | ST | RE
OM1.56.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
OM1.56.4 | Alternate Identifier | ST | RE | RE | [6 empty] | ST | RE
OM1.56.5 | Alternate Text | ST | RE | RE | [6 empty] | ST | RE
OM1.56.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.56.7 | Coding System Version ID | ST | RE | RE | [6 empty] | ST | RE
OM1.56.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.56.9 | Original Text | ST | RE | RE | [6 empty] | ST | RE
OM1.57 | Expected Turn-Around Time | CQ | RE | RE | [0..1] | [5 empty] | CQ | O | [0..0]
OM1.57.1 | Quantity | NM | R | R | [6 empty] | NM | R
OM1.57.2 | Units | CWE | RE | RE |  |  | UCUM | UCUM |  |  | CWE | RE |  |  | UCUM | UCUM
OM1.57.2.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM1.57.2.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM1.57.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.57.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.57.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.58 | Gender Restriction | CWE | RE | RE | (0..*) |  |  | HL70001 |  |  | CWE | RE | (0..*) |  |  | HL70001
OM1.58.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM1.58.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM1.58.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM1.58.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.58.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM1.59 | Age Restriction | NR | RE | RE | [0..*] | [5 empty] | NR | O | [0..0]
OM1.59.1 | Low Value | NM | RE | [7 empty] | NM | RE
OM1.59.2 | High Value | NM | RE | [7 empty] | NM | RE

## OM2
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | OM2 - NUMERIC OBSERVATION SEGMENT eDOS | [8 empty] | OM2 - NUMERIC OBSERVATION SEGMENT IHE Profile
OM2.1 | Sequence Number - Test/Observation Master File | NM | R | R | [1..1] | [6 empty] | O | [0..0]
OM2.2 | Units of Measure | CWE_CRE | RE | RE | [0..1] |  |  | 9999 |  | eDOS uses CWE here - so in IHE profile no support after the first 6 components - impact? | CE | RE | [0..1] |  |  | 9999
OM2.2.1 | Identifier | ST | RE | RE | [6 empty] | ST | RE
OM2.2.2 | Text | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM2.2.4 | Alternate Identifier | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.2.5 | Alternate Text | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.2.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM2.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.2.9 | Original Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM2.3 | Range of Decimal Precision |  | O | O | [6 empty] | NM | O | [0..*]
OM2.4 | Corresponding SI Units of Measure |  | O | O | [7 empty] | O | [0..0]
OM2.5 | SI Conversion Factor |  | O | O | [7 empty] | O | [0..0]
OM2.6 | Reference (Normal) Range for Ordinal and Continuous Observations | RFR | RE | RE | [0..*] | [5 empty] | RFR | O | [0..*]
OM2.6.1 | Numeric Range | NR | R | R | [6 empty] | NR | R
OM2.6.1.1 | Low Value | NM | RE | RE | [6 empty] | NM | RE
OM2.6.1.2 | High Value | NM | RE | RE | [6 empty] | NM | RE
OM2.6.2 | Administrative Sex | IS | O | O | [6 empty] | IS | O
OM2.6.2 | Administrative Sex | CWE | RE | RE |  |  |  | HL70001 |  |  | CWE | RE |  |  |  | HL70001
OM2.6.2.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM2.6.2.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM2.6.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM2.6.2.4 | Alternate Identifier | ST | O | O | [6 empty] | ST | O
OM2.6.2.5 | Alternate Text | ST | O | O | [6 empty] | ST | O
OM2.6.2.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396 |  |  | ID | O |  |  |  | HL70396
OM2.6.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.6.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.6.3 | Age Range | NR | O | O | [6 empty] | NR | O
OM2.6.3.1 | Lower bound | NM | O | O | [6 empty] | NM | O
OM2.6.3.2 | Upper bound | NM | O | O | [6 empty] | NM | O
OM2.6.6 | Race/subspecies | ST | O | O | [6 empty] | ST | O
OM2.6.6 | Race/subspecies | CWE | RE | RE |  |  |  | HL70005 |  |  | CWE | RE |  |  |  | HL70005
OM2.6.6.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM2.6.6.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM2.6.6.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM2.6.6.4 | Alternate Identifier | ST | O | O | [6 empty] | ST | O
OM2.6.6.5 | Alternate Text | ST | O | O | [6 empty] | ST | O
OM2.6.6.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396 |  |  | ID | O |  |  |  | HL70396
OM2.6.6.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.6.6.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM2.7 | Critical Range for Ordinal and Continuous Observations | RFR | RE | RE | [0..*] | [6 empty] | O | [0..0]
OM2.7.1 | Numeric Range | NR | R | R | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.1.1 | Low Value | NM | RE | RE | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.1.2 | High Value | NM | RE | RE | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.2 | Administrative Sex | IS | O | O |  |  |  | HL70001 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70001
OM2.7.2 | Administrative Sex | CWE | RE | RE |  |  |  | HL70001 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70001
OM2.7.2.1 | Identifier | ST | C(R/O) | C(R/O) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.2.2 | Text | ST | C(R/RE) | C(R/RE) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70396
OM2.7.2.4 | Alternate Identifier | ST | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.2.5 | Alternate Text | ST | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.2.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70396
OM2.7.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.3 | Age Range | NR | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.3.1 | Lower bound | NM | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.3.2 | Upper bound | NM | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6 | Race/subspecies | ST | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6 | Race/subspecies | CWE | RE | RE |  |  |  | HL70005 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70005
OM2.7.6.1 | Identifier | ST | C(R/O) | C(R/O) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6.2 | Text | ST | C(R/RE) | C(R/RE) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70396
OM2.7.6.4 | Alternate Identifier | ST | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6.5 | Alternate Text | ST | O | O | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396 |  | IHE profile to O, or eDOS to X |  | O | [0..0] |  |  | HL70396
OM2.7.6.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.7.6.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [5 empty] | IHE profile to O, or eDOS to X |  | O | [0..0]
OM2.8 | Absolute Range for Ordinal and Continuous Observations | RFR | RE | RE | [0..*] | [6 empty] | O | [0..0]
OM2.8.1 | Numeric Range | NR | R | R
OM2.8.1.1 | Low Value | NM | RE | RE
OM2.8.1.2 | High Value | NM | RE | RE
OM2.8.2 | Administrative Sex | IS | O | O |  |  |  | HL70001
OM2.8.2 | Administrative Sex | CWE | RE | RE |  |  |  | HL70001
OM2.8.2.1 | Identifier | ST | C(R/O) | C(R/O)
OM2.8.2.2 | Text | ST | C(R/RE) | C(R/RE)
OM2.8.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396
OM2.8.2.4 | Alternate Identifier | ST | O | O
OM2.8.2.5 | Alternate Text | ST | O | O
OM2.8.2.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396
OM2.8.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
OM2.8.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X)
OM2.8.3 | Age Range | NR | O | O
OM2.8.3.1 | Lower bound | NM | O | O
OM2.8.3.2 | Upper bound | NM | O | O
OM2.8.6 | Race/subspecies | ST | O | O
OM2.8.6 | Race/subspecies | CWE | RE | RE |  |  |  | HL70005
OM2.8.6.1 | Identifier | ST | C(R/O) | C(R/O)
OM2.8.6.2 | Text | ST | C(R/RE) | C(R/RE)
OM2.8.6.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396
OM2.8.6.4 | Alternate Identifier | ST | O | O
OM2.8.6.5 | Alternate Text | ST | O | O
OM2.8.6.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396
OM2.8.6.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
OM2.8.6.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X)
OM2.9 | Delta Check Criteria |  | O | O | [7 empty] | O
OM2.10 | Minimum Meaningful Increments |  | O | O | [7 empty] | O
Note on I35: Eric Haas: use case with race based result! -GFR in GHP
Note on Q35: Eric Haas: use case with race based result! -GFR in GHP
Note on I62: Eric Haas: need use case with race based result! -e.g. GFR in GHP
Note on Q62: Eric Haas: need use case with race based result! -e.g. GFR in GHP
Note on I89: Eric Haas: need use case with race based result! -e.g. GFR in GHP

## OM3
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | OM3 - CATEGORICAL SERVICE/TEST/OBSERVATION SEGMENT eDOS | [8 empty] | OM3 - CATEGORICAL SERVICE/TEST/OBSERVATION SEGMENT IHE Profile
OM3.1 | Sequence Number - Test/Observation Master File | NM | R | R | [1..1] | [5 empty] | NM | O | [0..1]
OM3.2 | Preferred Coding System |  | O | O | [6 empty] | CWE | O | [0..1]
OM3.3 | Valid Coded Answers |  | O | O | [6 empty] | CWE | O | [0..*]
OM3.4 | Normal Text/Codes for Categorical Observations | CWE | RE | RE | [0..*] |  |  | 9999 |  | Description of CWE supports only first 3 component, for text uses CWE.2 - impact? | CWE | O | [0..*]
OM3.4.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | O | [0..*]
OM3.4.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | O | [0..*]
OM3.4.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | O | [0..*]
OM3.4.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | O | [0..*]
OM3.4.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | O | [0..*]
OM3.5 | Abnormal Text/Codes for Categorical Observations | CWE | RE | RE | [0..*] |  |  | 9999 |  | Description of CWE supports only first 3 component, for text uses CWE.2 - impact? | CWE | O | [0..*]
OM3.5.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | O | [0..*]
OM3.5.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | O | [0..*]
OM3.5.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | O | [0..*] |  |  | HL70396
OM3.5.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | O | [0..*]
OM3.5.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | O | [0..*]
OM3.6 | Critical Test Codes for Categorical Observations |  | O | O | [5 empty] | Description of CWE supports only first 3 component, for text uses CWE.2 - impact? | CWE | O | [0..*]
OM3.7 | Value Type | ID | RE | RE | [0..1] |  |  | HL70125_USL |  |  | ID | O | [0..1] |  |  | HL70125_USL

## OM4
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | OM4 - OBSERVATIONS THAT REQUIRE SPRECIMENS SEGMENT eDOS | [8 empty] | OM4 - OBSERVATIONS THAT REQUIRE SPRECIMENS SEGMENT IHE Profile
OM4.1 | Sequence Number - Test/Observation Master File | NM | R | R | [1..1] | [5 empty] | NM | O | [0..0]
OM4.2 | Derived Specimen |  | O | O | [7 empty] | O | [0..0]
OM4.3 | Container Description | TX | RE | RE | [0..*] |  |  |  |  | IHE profile to RE, or eDOS to R eDOS preadopted the cardinality here from v2.8 - impact? | TX | R | [1..1]
OM4.4 | Container Volume | NM | RE | RE | [0..*] |  |  |  |  | eDOS preadopted the cardinality here from v2.8 - impact? | NM | O | [0..1]
OM4.5 | Container Units | CWE | RE | RE | [0..*] |  |  | 9999 |  | eDOS preadopted the cardinality here from v2.8 - impact? Is not having units an issue - default unit is NOT specified in IHE profile |  | O | [0..0]
OM4.5.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM4.5.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM4.5.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM4.5.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.5.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.6 | Specimen | CWE_CRE | RE | RE | [0..1] |  |  | SNOMED CT and/or HL70487 |  | eDOS uses CWE here - so in IHE profile no support after the first 6 components - impact? IHE profile supports only HL7487 - impact? | CE | O | [0..1] |  |  | HL70487 | Use same codes as in SPM-4
OM4.6.1 | Identifier | ST | RE | RE | [6 empty] | ST | RE
OM4.6.2 | Text | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.6.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM4.6.4 | Alternate Identifier | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.6.5 | Alternate Text | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.6.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM4.6.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.6.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.6.9 | Original Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM4.7 | Additive | CWE | RE | RE | [0..1] |  |  | HL70371 |  |  |  | O | [0..0]
OM4.7.1 | Identifier | ST | C(R/O) | C(R/O) | [5 empty] | IHE profile to O, or eDOS to X | ST | O
OM4.7.2 | Text | ST | C(R/RE) | C(R/RE) | [5 empty] | IHE profile to O, or eDOS to X | ST | O
OM4.7.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  | IHE profile to O, or eDOS to X | ID | O |  |  |  | HL70396
OM4.7.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [5 empty] | IHE profile to O, or eDOS to X | ST | O
OM4.7.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [5 empty] | IHE profile to O, or eDOS to X | ST | O
OM4.8 | Preparation |  | O | O | [7 empty] | O | [0..0]
OM4.9 | Special Handling Requirements |  | X | X | [7 empty] | X
OM4.10 | Normal Collection Volume | CQ | RE | RE | [0..1] | [5 empty] | CQ | O | [0..1] |  |  |  | default volume is mL
OM4.10.1 | Quantity | NM | R | R | [6 empty] | NM | R
OM4.10.2 | Units | CWE | RE | RE |  |  |  | UCUM |  |  | CWE | RE |  |  |  | UCUM
OM4.10.2.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM4.10.2.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM4.10.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) | [6 empty] | ID | C(R/X)
OM4.10.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.10.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.11 | Minimum Collection Volume | CQ | RE | RE | [0..1] | [5 empty] | CQ | O | [0..1] |  |  |  | default volume is mL
OM4.11.1 | Quantity | NM | R | R | [6 empty] | NM | R
OM4.11.2 | Units | CWE | RE | RE |  |  |  | UCUM |  |  | CWE | RE |  |  |  | UCUM
OM4.11.2.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | ST | C(R/O)
OM4.11.2.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
OM4.11.2.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
OM4.11.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.11.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM4.12 | Specimen Requirements | TX | RE | RE | [0..1] | [6 empty] | O | [0..0]
OM4.12 | Specimen Priorities |  | O | O | [7 empty] | O | [0..0]
OM4.14 | Spreicmen Retention Time |  | O | O | [7 empty] | O | [0..0]
OM4.15 | Specimen Handling Code | CWE | RE | RE | [0..*] |  |  | HL70376 |  |  | N/A | N/A | N/A | N/A | N/A | N/A
OM4.15.1 | Identifier | ST | C(R/O) | C(R/O) | [6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
OM4.15.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
OM4.15.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | N/A | N/A | N/A | N/A | N/A | N/A
OM4.15.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
OM4.15.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
OM4.16 | Specimen Preference | ID | RE | RE | [0..1] |  |  | HL70920 |  |  | N/A | N/A | N/A | N/A | N/A | N/A
OM4.17 | Preferred Specimen/Attribute Sequence | NM | RE | RE | [0..1] | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A

## OM5
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | OM5 - OBSERVATION BATTERIES (SETS) SEGMENT eDOS | [8 empty] | OM5 - OBSERVATION BATTERIES (SETS) SEGMENT IHE Profile
OM5.1 | Sequence Number - Test/Observation Master File | NM | R | R | [1..1] | [5 empty] | NM | O | [0..0]
OM5.2 | Test/Observations Included Within an Ordered Test Battery | CWE_RC1 | R | R | [1..*] |  |  |  |  | eDOS uses CWE here - so in IHE profile no support after the first 6 components - impact? Per IHE example supports the first 3 elements of the CE | CE | R | [1..*]
OM5.2.1 | Identifier | ST | R | R | [6 empty] | ST | R
OM5.2.2 | Text | ST | R | R | [6 empty] | ST | R
OM5.2.3 | Name of Coding System | ID | R | R |  |  |  | HL70396 |  |  | ID | R |  |  |  | HL70396
OM5.2.4 | Alternate Identifier | ST | RE | RE | [6 empty] | ST | RE
OM5.2.5 | Alternate Text | ST | RE | RE | [6 empty] | ST | RE
OM5.2.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X) | [6 empty] | ID | C(R/X)
OM5.2.7 | Coding System Version ID | ST | RE | RE | [6 empty] | ST | RE
OM5.2.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
OM5.2.9 | Original Text | ST | O | O | [6 empty] | ST | O
OM5.3 | Observation ID Suffixes |  | O | O | [7 empty] | O | [0..0]

## OMC
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA
HL7 message segment Info |  | OMC - SUPPORTING CLINICAL INFORMATION SEGMENT eDOS
OMC.1 | Sequence Number - Test Observation Master File |  | O | [6 empty] | NOT SPECIFIED IN IHE Profile, so N/A this is pre-adopted from v2.8.2 to support Ask at Order Entry Question information
OMC.2 | Segment Action Code | ID | C(R/O) | C(R/O) | [0..1] |  |  |  | CP: If OMC-3 is valued
OMC.3 | Segment Unique Key | EI_GU | C(R/O) | C(R/O) | [0..1] |  |  |  | CP: If OMC-2 is valued
OMC.4 | Clinical Information Request | CWE_RC1 | R | R | [1..1] |  |  | 9999
OMC.4.1 | Identifier | ST | R | R
OMC.4.2 | Text | ST | R | R
OMC.4.3 | Name of Coding System | ID | R | R |  |  |  | HL70396
OMC.4.4 | Alternate Identifier | ST | RE | RE
OMC.4.5 | Alternate Text | ST | RE | RE
OMC.4.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X)
OMC.4.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.4.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.5 | Collection Event/Process Step | CWE_RC | R | R | [1..*] |  |  | HL70938
OMC.5.1 | Identifier | ST | R | R
OMC.5.2 | Text | ST | R | R
OMC.5.3 | Name of Coding System | ID | R | R |  |  |  | HL70396
OMC.5.4 | Alternate Identifier | ST | RE | RE
OMC.5.5 | Alternate Text | ST | RE | RE
OMC.5.6 | Name of Alternate Coding System | ID | C(R/X) | C(R/X)
OMC.5.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.5.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.5.9 | Original Text | ST | O | O
OMC.6 | Communication Location | CWE | R | R | [1..1] |  |  | HL70939
OMC.6.1 | Identifier | ST | C(R/O) | C(R/O)
OMC.6.2 | Text | ST | C(R/RE) | C(R/RE)
OMC.6.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396
OMC.6.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.6.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.7 | Answer Required | ID | R | R | [1..1] |  |  | HL70136
OMC.8 | Hint/Help Text | ST | RE | RE | [0..1]
OMC.9 | Type of Answer | ID | R | R | [1..1] |  |  | HL70440
OMC.10 | Multile Anserws Allowed |  | O | O
OMC.11 | Answer Choices | CWE | R | R | [0..*] |  |  | 9999
OMC.11.1 | Identifier | ST | C(R/O) | C(R/O)
OMC.11.2 | Text | ST | C(R/RE) | C(R/RE)
OMC.11.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396
OMC.11.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.11.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X)
OMC.12 | Character Limit | NM | RE | RE | [0..1]
OMC.13 | Number of Decimals | NM | RE | RE | [0..1]
Note on B25: Eric Haas: TODO: group by AP and CP? All Changeable and R for max pops only

## MFN_M04
Message | Segment | Name | Usage | Cardinality | Description | DELTA
HL7 message segment Info |  |  | MFN^M04^MFN_M04 – Charge Description Master File Message eDOS
MFN_M04 | MSH | Message Header | R | [1..1] |  | NOT SPECIFIED IN IHE Profile, so N/A
MFN_M04 | [{SFT}] | Software | O
MFN_M04 | MFI | Master File Identification | R | [1..1]
MFN_M04 | [{NTE}] | Notes and Comments | RE | [0..*]
MFN_M04 | { | MF_CDM Begin | R | [1..*]
MFN_M04 | MFE | Master File Entry | R | [1..1]
MFN_M04 | [{NTE}] | Notes and Comments | RE | [0..*]
MFN_M04 | CDM | Charge Description Master | R | [1..1]
MFN_M04 | [{NTE}] | Notes and Comments | RE | [0..*]
MFN_M04 | [{PRC}] | Price Segment | O
MFN_M04 | } | MF_CDM End

## CDM
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA
HL7 message segment Info |  | CDM - CHARGE DESCRIPTION MASTER SEGMENT eDOS
CDM.1 | Primary Key Value - CDM | CWE_RC | R | R | [1..1] |  |  | HL70132 |  | NOT SPECIFIED IN IHE Profile, so N/A
CDM.1.1 | Identifier | ST | R | R
CDM.1.2 | Text | ST | R | R
CDM.1.3 | Name of Coding System | ID | R | R |  |  |  | HL70396
CDM.1.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) |  |  |  |  | see datatype
CDM.3 | Charge Description Short | ST | R | R | [1..1]
CDM.7 | Procedure Code | CNE | R | R | [1..*]
CDM.7.1 | Identifier | ST | R | R
CDM.7.2 | Text | ST | R | R
CDM.7.3 | Name of Coding System | ID | R | R |  |  |  | HL70396
CDM.7.7 | Coding System Version ID | ST | RE | RE

## MFN_M18
Message | Segment | Name | Usage | Cardinality | Description | DELTA
MFN^M18^MFN_M18 - Master File Notification – Test/Observation (Payer)
MFN_M18 | MSH | Message Header | R | [1..1] |  | NOT SPECIFIED IN IHE Profile, so N/A
MFN_M18 | [{SFT}] | Software | O
MFN_M18 | MFI | Master File Identification | R | [1..1]
MFN_M18 | { | MF_Payer Begin | R | [1..*]
MFN_M18 | MFE | Master File Entry | R | [1..1]
MFN_M18 | { | PAYER MF Entry begin | R | [1..*]
MFN_M18 | PM1 | Payer Master File Segment | R | [1..1]
MFN_M18 | { | PAYER MF Coverage begin | R | [1..*]
MFN_M18 | MCP | Master File Covereage Policy Segment | R | [1..1]
MFN_M18 | [{DPS}] | Diagnosis and Procedure Segment | O | [0..*]
MFN_M18 | } | PAYER MF Coverage end
MFN_M18 | } | PAYER MF Entry end
MFN_M18 | } | MF_Payer End

## PM1
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA
HL7 message segment Info |  | PM1 - PAYOR MASTER FILE SEGMENT eDOS
PM1.1 | Health Plan ID | CWE | R | R | [1..1] |  |  | HL70072 |  | NOT SPECIFIED IN IHE Profile, so N/A
PM1.1.1 | Identifier | ST | C(R/O) | C(R/O) |  |  | 20=
PM1.1.2 | Text | ST | C(R/RE) | C(R/RE) |  |  | 199#
PM1.1.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  | 1..12 |  | HL70396
PM1.1.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) |  |  | 10=
PM1.1.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) |  |  | 10=
PM1.2 | Insurance Company ID | CX_GU/CX_NG | R | R | [1..*]
PM1.2.1 | ID Number | ST | R | R |  |  | 15=
PM1.2.3 | Check Digit Scheme |  | C(O/X) | C(O/X) |  | 3..3
PM1.2.4 | Assigning Authority | HD_GU/HD_GN | R | RE
PM1.2.4.1 | Namespace ID | IS | RE |  |  |  | 20=
PM1.2.4.2 | Universal ID | ST | R |  |  |  | 199=
PM1.2.4.3 | Universal ID Type | ID | R |  |  | 1..6
PM1.2.5 | Identifier Type Code | ID | R |  |  | 2..5 |  | HL70203

## MCP
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Descriptions | DELTA
HL7 message segment Info |  | MCP - MASTER FILE COVERAGE POLICY SEGMENT eDOS
MCP.1 | Set ID - MCP | SI | R | R | [1..1] |  |  |  |  | NOT SPECIFIED IN IHE Profile, so N/A
MCP.2 | Producer's Service/Test/Observation ID | CWE_RC | R | R | [1..1]
MCP.2.1 | Identifier | ST | R | R
MCP.2.2 | Text | ST | R | R
MCP.2.3 | Name of Coding System | ID | R | R |  |  |  | HL70396
MCP.2.4 | Alternate Identifier | ST | O | O
MCP.2.5 | Alternate Text | ST | O | O
MCP.2.6 | Name of Alternate Coding System | ID | O | O |  |  |  | HL70396
MCP.2.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X)
MCP.2.8 | Alternate Coding System Version ID | ST | O | O
MCP.2.9 | Original Text | ST | O | O
MCP.3 | Universal Service Price Range - Low Value | MO | RE | RE | [0..1]
MCP.3.1 | Quantity | NM | R | R |  |  | =
MCP.3.2 | Denomination | ID | R | R |  | 3..3 |  | HL70913
MCP.4 | Universal Service Price Range - High Value | MO | RE | RE | [0..1]
MCP.4.1 | Quantity | NM | R | R |  |  | =
MCP.4.2 | Denomination | ID | R | R |  | 3..3 |  | HL70913
MCP.5 | Reason for Universal Service Cost Range | ST | C(R/X) | C(R/X) | [0..1] |  |  |  | CP: If MCP-3 is valued
https://www.cms.gov/medicare-coverage-database/

## MFK Messages
|  | Usage | Cardinality | Description | DELTA | Usage | Cardinality | Description
Segment | Name | MFKN^M10^MFN_M10 – Master File Notification – Test/Observation Batteries |  |  |  | MFN^M10^MFN_M10 – Master File Notification – Test/Observation Batteries - IHE PROFILE
MSH | Message Header | R | [1..1] |  |  | R | [1..1]
MSA | Message Acknowledgment | R | [1..1] |  |  | R | [1..1]
[{ERR}] | Error | C | [0..*] | CP: If MSA-1 is not valued "AA" or "CA" | IHE Profile to update cardinality to [0.. Else this is assuming an error all the time IHE profile using MFA to report the error? - this may need more research - do later | C | [1..1] | CP: If MSA-1 is not valued "AA" or "CA"
MFI | Master File Identification | R | [1..1] |  |  | R | [1..1]
{ | Master File Entry Begin | N/A | N/A |  | this Is not listed in the underlying base as a group - IHE Profile needs to be updated | C | [0..*] | CP: If ERR segment is present
MFA | Master File ACK Segment | O |  |  | Update IHE Profile - either here to C(R/X) with CP: If ERR segment is present and same for eDOS OR change IHE Profile to O | R | [1..1]
} |  | N/A | N/A

## MSA
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | MSA - MESSAGE ACKNOWLEDGEMENT SEGMENT eDOS | [8 empty] | MSA - MESSAGE ACKNOWLEDGEMENT SEGMENT IHE Profile
MSA.1 | Acknowledgement Code | ID | R | R | [1..1] |  |  | HL70008_USL |  |  | ID | R | [1..1] |  |  | HL70008
MSA.2 | Message Control ID | ST | R | R | [1..1] | [5 empty] | ST | R | [1..1]
MSA.3 | Text Message |  | X | X |  |  |  |  | is B in underlying standard |  | ST | X | [0..0]
MSA.4 | Expected Sequence Number |  | O | O | [6 empty] | NM | O | [0..1]
MSA.5 | Delayed Acknowledgement Type |  | X | X |  |  |  |  | is W in underlying standard |  |  | X | [0..0]
MSA.6 | Error Condition |  | X | X | [6 empty] | CE | X | [0..0] |  |  | HL70357

## ERR
Location | Element Name | DT | GU Usage | NG Usage | Cardinality | Len | C.Len - not used | Value Set | Description | DELTA | DT | Usage | Cardinality | Len | C.Len - not used | Value Set | Description
HL7 message segment Info |  | ERR - ERROR SEGMENT eDOS | [8 empty] | ERR - ERROR SEGMENT IHE Profile
ERR.1 | Error Code and Location |  | X | X | [7 empty] | X | [0..0]
ERR.2 | Error Location |  | O | O | [5 empty] | IHE profile to O, or eDOS to RE | ERL | RE | [0..*]
ERR.3 | HL7 Error Code | CWE | R | R | [1..1] |  |  | HL70357_USL |  |  | CWE | R | [1..1] |  |  | HL70357
ERR.3.1 | Identifier | ST | C(R/O) | C(R/O) |  |  |  | HL70357 |  |  | ST | C(R/O) |  |  |  | HL70357
ERR.3.2 | Text | ST | C(R/RE) | C(R/RE) | [6 empty] | ST | C(R/RE)
ERR.3.3 | Name of Coding System | ID | C(R/X) | C(R/X) |  |  |  | HL70396 |  |  | ID | C(R/X) |  |  |  | HL70396
ERR.3.7 | Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
ERR.3.8 | Alternate Coding System Version ID | ST | C(RE/X) | C(RE/X) | [6 empty] | ST | C(RE/X)
ERR.4 | Severity | ID | R | R | [1..1] |  |  | HL70516_USL |  |  | ID | R | [1..1] |  |  | HL70516
ERR.5 | Application Error Code |  | O | O | [6 empty] | CWE | O | [0..1] |  |  | HL70533
ERR.6 | Application Error Parameter |  | O | O | [5 empty] | IHE Profile - Is this intended or a typo? | ST | O | [0..10]
ERR.7 | Diagnostic Information | TX | RE | RE | [0..1] | [5 empty] | TX | RE | [0..1]
ERR.8 | User Message |  | O | O | [6 empty] | TX | O | [0..1]
ERR.9 | Inform Person Indicator |  | O | O | [6 empty] | IS | O | [0..*] |  |  | HL70517
ERR.10 | Override Type |  | O | O | [6 empty] | CWE | O | [0..1] |  |  | HL70518
ERR.11 | Override Reason Code |  | O | O | [6 empty] | CWE | O | [0..*] |  |  | HL70519
ERR.12 | Help Desk Contaact Point |  | O | O | [6 empty] | XTN | O | [0..*]

## Datatypes
Datatype | Location | Element Name | DT | Usage | not used | Cardinality | Length | Conformance length | ValueSet
CE | 1 | Identifier | ST | RE
| 2 | Text | ST | C(R/RE)
| 3 | Name of Coding System | ID | C(R/X) |  |  |  |  | HL70396
| 4 | Alternate Identifier | ST | C(RE/X)
| 5 | Alternate Text | ST | C(RE/X)
| 6 | Name of Alternate Coding System | ID | C(R/X) |  |  |  |  | HL70396
CE (HL7) | 1 | Identifier | ST | O
| 2 | Text | ST | O
| 3 | Name of Coding System | ID | O |  |  |  |  | HL70396
| 4 | Alternate Identifier | ST | O
| 5 | Alternate Text | ST | O
| 6 | Name of Alternate Coding System | ID | O |  |  |  |  | HL70396
CQ (HL7) | 1 | Quantity | NM | O
| 2 | Units | CE | O
CNE (EDOS) | 1 | Identifier | ST | R |  |  |  | 20=
| 2 | Text | ST | R |  |  |  | 199#
| 3 | Name of Coding System | ID | R |  |  | 1..12 |  | HL70396
| 4 | Alternate Identifier |  | O |  |  |  | 20=
| 5 | Alternate Text |  | O |  |  |  | 199#
| 6 | Name of Alternate Coding System |  | O |  |  | 1..12
| 7 | Coding System Version ID | ST | RE |  |  |  | 10=
| 8 | Alternate Coding System Version ID |  | O |  |  |  | 10=
| 9 | Original Text |  | O |  |  |  | 199#
CWE (EDOS) | 1 | Identifier | ST | C(R/O) |  |  |  | 20=
| 2 | Text | ST | C(R/RE) |  |  |  | 199#
| 3 | Name of Coding System | ID | C(R/X) |  |  | 1..12 |  | HL70396
| 4 | Alternate Identifier |  | O |  |  |  | 20=
| 5 | Alternate Text |  | O |  |  |  | 199#
| 6 | Name of Alternate Coding System |  | O |  |  | 1..12
| 7 | Coding System Version ID | ST | C(RE/X) |  |  |  | 10=
| 8 | Alternate Coding System Version ID | ST | C(RE/X) |  |  |  | 10=
| 9 | Original Text |  | O |  |  |  | 199#
| 10 | Second Alternate Identifier |  | O |  |  |  | 20=
| 11 | Second Alternate Text |  | O |  |  |  | 199#
| 12 | Second Name of Alternate Coding System |  | O |  |  | 1..12
| 13 | Second Alternate Coding System Version ID |  | O |  |  |  | 10=
| 14 | Coding System OID |  | O |  |  |  | 199=
| 15 | Value Set OID |  | O |  |  |  | 199=
| 16 | Value Set Version ID |  | O |  |  |  | 8=
| 17 | Alternate Coding System OID |  | O |  |  |  | 199=
| 18 | Alternate Value Set OID |  | O |  |  |  | 199=
| 19 | Alternate Value Set Version ID |  | O |  |  |  | 8=
| 20 | Second Alternate Coding System OID |  | O |  |  |  | 199=
| 21 | Second Alternate Value Set OID |  | O |  |  |  | 199=
| 22 | Second Alternate Value Set Version ID |  | O |  |  |  | 8=
CWE_CR | 1 | Identifier | ST | R
| 2 | Text | ST | RE
| 3 | Name of Coding System | ID | R |  |  |  |  | HL70396
| 4 | Alternate Identifier | ST | RE
| 5 | Alternate Text | ST | RE
| 6 | Name of Alternate Coding System | ID | C(R/X) |  |  |  |  | HL70396
| 7 | Coding System Version ID | ST | RE
| 8 | Alternate Coding System Version ID | ST | C(RE/X)
| 9 | Original Text | ST | RE
| 10 | Second Alternate Identifier |  | O
| 11 | Second Alternate Text |  | O
| 12 | Second Name of Alternate Coding System |  | O
| 13 | Second Alternate Coding System Version ID |  | O
| 14 | Coding System OID |  | O
| 15 | Value Set OID |  | O
| 16 | Value Set Version ID |  | O
| 17 | Alternate Coding System OID |  | O
| 18 | Alternate Value Set OID |  | O
| 19 | Alternate Value Set Version ID |  | O
| 20 | Second Alternate Coding System OID |  | O
| 21 | Second Alternate Value Set OID |  | O
| 22 | Second Alternate Value Set Version ID |  | O
CWE_CRE (EDOS) | 1 | Identifier | ST | RE |  |  |  | 20=
| 2 | Text | ST | C(RE/X) |  |  |  | 199#
| 3 | Name of Coding System | ID | C(R/X) |  |  | 1..12 |  | HL70396
| 4 | Alternate Identifier | ST | C(RE/X) |  |  |  | 20=
| 5 | Alternate Text | ST | C(RE/X) |  |  |  | 199#
| 6 | Name of Alternate Coding System | ID | C(R/X) |  |  | 1..12 |  | HL70396
| 7 | Coding System Version ID | ST | C(RE/X) |  |  |  | 10=
| 8 | Alternate Coding System Version ID | ST | C(RE/X) |  |  |  | 10=
| 9 | Original Text | ST | C(R/RE) |  |  |  | 199#
| 10 | Second Alternate Identifier |  | O |  |  |  | 20=
| 11 | Second Alternate Text |  | O |  |  |  | 199#
| 12 | Second Name of Alternate Coding System |  | O |  |  | 1..12
| 13 | Second Alternate Coding System Version ID |  | O |  |  |  | 10=
| 14 | Coding System OID |  | O |  |  |  | 199=
| 15 | Value Set OID |  | O |  |  |  | 199=
| 16 | Value Set Version ID |  | O |  |  |  | 8=
| 17 | Alternate Coding System OID |  | O |  |  |  | 199=
| 18 | Alternate Value Set OID |  | O |  |  |  | 199=
| 19 | Alternate Value Set Version ID |  | O |  |  |  | 8=
| 20 | Second Alternate Coding System OID |  | O |  |  |  | 199=
| 21 | Second Alternate Value Set OID |  | O |  |  |  | 199=
| 22 | Second Alternate Value Set Version ID |  | O |  |  |  | 8=
CWE_RC (EDOS) | 1 | Identifier | ST | R |  |  |  | 20=
| 2 | Text | ST | R |  |  |  | 199#
| 3 | Name of Coding System | ID | R |  |  | 1..12 |  | HL70396
| 4 | Alternate Identifier |  | O |  |  |  | 20=
| 5 | Alternate Text |  | O |  |  |  | 199#
| 6 | Name of Alternate Coding System |  | O |  |  | 1..12
| 7 | Coding System Version ID | ST | RE |  |  |  | 10=
| 8 | Alternate Coding System Version ID |  | O |  |  |  | 10=
| 9 | Original Text |  | O |  |  |  | 199#
| 10 | Second Alternate Identifier |  | O |  |  |  | 20=
| 11 | Second Alternate Text |  | O |  |  |  | 199#
| 12 | Second Name of Alternate Coding System |  | O |  |  | 1..12
| 13 | Second Alternate Coding System Version ID |  | O |  |  |  | 10=
| 14 | Coding System OID |  | O |  |  |  | 199=
| 15 | Value Set OID |  | O |  |  |  | 199=
| 16 | Value Set Version ID |  | O |  |  |  | 8=
| 17 | Alternate Coding System OID |  | O |  |  |  | 199=
| 18 | Alternate Value Set OID |  | O |  |  |  | 199=
| 19 | Alternate Value Set Version ID |  | O |  |  |  | 8=
| 20 | Second Alternate Coding System OID |  | O |  |  |  | 199=
| 21 | Second Alternate Value Set OID |  | O |  |  |  | 199=
| 22 | Second Alternate Value Set Version ID |  | O |  |  |  | 8=
CWE_RC1 (EDOS) | 1 | Identifier | ST | R |  |  |  | 20=
| 2 | Text | ST | R |  |  |  | 199#
| 3 | Name of Coding System | ID | R |  |  | 1..12 |  | HL70396
| 4 | Alternate Identifier |  | RE |  |  |  | 20=
| 5 | Alternate Text |  | RE |  |  |  | 199#
| 6 | Name of Alternate Coding System |  | C(R/X) |  |  | 1..12
| 7 | Coding System Version ID | ST | RE |  |  |  | 10=
| 8 | Alternate Coding System Version ID |  | C(RE/X) |  |  |  | 10=
| 9 | Original Text |  | O |  |  |  | 199#
| 10 | Second Alternate Identifier |  | O |  |  |  | 20=
| 11 | Second Alternate Text |  | O |  |  |  | 199#
| 12 | Second Name of Alternate Coding System |  | O |  |  | 1..12
| 13 | Second Alternate Coding System Version ID |  | O |  |  |  | 10=
| 14 | Coding System OID |  | O |  |  |  | 199=
| 15 | Value Set OID |  | O |  |  |  | 199=
| 16 | Value Set Version ID |  | O |  |  |  | 8=
| 17 | Alternate Coding System OID |  | O |  |  |  | 199=
| 18 | Alternate Value Set OID |  | O |  |  |  | 199=
| 19 | Alternate Value Set Version ID |  | O |  |  |  | 8=
| 20 | Second Alternate Coding System OID |  | O |  |  |  | 199=
| 21 | Second Alternate Value Set OID |  | O |  |  |  | 199=
| 22 | Second Alternate Value Set Version ID |  | O |  |  |  | 8=
CX_GU (EDOS) | 1 | ID Number | ST | R |  |  |  | 15=
| 3 | Check Digit Scheme |  | C(O/X) |  |  | 3..3
| 4 | Assigning Authority | HD_GU | R
| 5 | Identifier Type Code | ID | R |  |  | 2..5 |  | HL70203
CX_NG (EDOS) | 1 | ID Number | ST | R |  |  |  | 15=
| 3 | Check Digit Scheme |  | C(O/X) |  |  | 3..3
| 4 | Assigning Authority | HD_NG | RE
| 5 | Identifier Type Code | ID | R |  |  | 2..5 |  | HL70203
CQ (EDOS) | 1 | Quantity | NM | R
| 2 | Units | CWE | RE
EI_GU (EDOS) | 1 | Entity Identifier | ST | R |  |  |  | 199=
| 2 | Namespace ID | IS | RE |  |  |  | 20=
| 3 | Universal ID | ST | R |  |  |  | 199=
| 4 | Universal ID Type | ID | R |  |  | 1..6
EI_NG (EDOS) | 1 | Entity Identifier | ST | R |  |  |  | 199=
| 2 | Namespace ID | IS | C(R/O) |  |  |  | 20=
| 3 | Universal ID | ST | C(R/O) |  |  |  | 199=
| 4 | Universal ID Type | ID | C(R/X) |  |  | 1..6 |  | HL70301 (V2.7.1)
HD_GU (EDOS) | 1 | Namespace ID | IS | RE |  |  |  | 20=
| 2 | Universal ID | ST | R |  |  |  | 199=
| 3 | Universal ID Type | ID | R |  |  | 1..6
HD_NG (EDOS) | 1 | Namespace ID | IS | C(R/O) |  |  |  | 20=
| 2 | Universal ID | ST | C(R/O) |  |  |  | 199=
| 3 | Universal ID Type | ID | C(R/X) |  |  | 1..6 |  | HL70301 (V2.7.1)
MO (EDOS) | 1 | Quantity | NM | R |  |  |  | =
| 2 | Denomination | ID | R |  |  | 3..3 |  | ISO 4217 (v282)
MSG (EDOS) | 1 | Message Code | ID | R |  |  | 3..3 |  | HL70076 (constrained)
| 2 | Trigger Event | ID | R |  |  | 3..3 |  | HL70003 (constrained)
| 3 | Message Structure | ID | R |  |  | 3,7 |  | HL70354 (constrained)
NR (EDOS) | 1 | Low Value | NM | RE
| 2 | High Value | NM | RE
NR (HL7) | 1 | Low Value |  | O
| 2 | High Value |  | O
PT (EDOS) | 1 | Processing ID | ID | R |  |  | 1..1 |  | HL70103
| 2 | Processing Mode |  | O |  |  | 1..1
RFR (EDOS) | 1 | Numeric Range | NR | R
| 2 | Administrative Sex | CWE | RE |  |  |  |  | HL70001
| 3 | Age Range | NR | O
| 4 | Gestational Age Range | NR | O
| 5 | Species | ST | O |  |  |  | 20=
| 6 | Race/subspecies | CWE | RE |  |  |  | 20= | HL70005 (V2.5.1)
| 7 | Conditions | TX | O
RFR (HL7) | 1 | Numeric Range | NR | R
| 2 | Administrative Sex | IS | O |  |  |  |  | HL70001
| 3 | Age Range | NR | O
| 4 | Gestational Age Range | NR | O
| 5 | Species | ST | O
| 6 | Race/subspecies | ST | O
| 7 | Conditions | TX | O
TS_1 (EDOS) | 1 | Time | DTM | R
| 2 | Degree of Precision |  | X
VID (EDOS) | 1 | Version ID | ID | R |  |  | 3..5 |  | HL70104 (constrained)
| 2 | Internationalization Code |  | O
| 3 | International Version ID |  | O
XAD (EDOS) | 1 | Street Address | SAD | RE
| 2 | Other Designation | ST | O |  |  |  | 120#
| 3 | City | ST | RE |  |  |  | 50#
| 4 | State or Province | ST | RE |  |  |  | 50# | USPS
| 5 | Zip or Postal Code | ST | RE |  |  |  | 12=
| 6 | Country Code | ID | RE |  |  | 3..3 |  | HL70399
| 7 | Address Type | ID | RE |  |  | 1..3 |  | HL70190
| 8 | Other Geographic Designation |  | O |  |  |  | 50#
| 9 | County/Parish Code |  | O
| 10 | Census Tract |  | O
| 11 | Address Representation Code |  | O |  |  | 1..1
| 12 | Address Validity Range |  | X
| 13 | Effective Date |  | O |  |  |  | 8=
| 14 | Expiration Date |  | O |  |  |  | 8=
Note on A2: Rosin, Caroline: removed from eDOS IG
Note on A9: Rosin, Caroline: from HL7, not in the eDOS IG
Note on A16: Rosin, Caroline: from HL7, not in the eDOS IG
Note on A162: Rosin, Caroline: not used
Note on A182: Rosin, Caroline: only used in RFR (EDOS)
Note on A191: Rosin, Caroline: only present in OM2-6, OM2-7 & OM2-8 - but those are O in base profile
Note on D204: Rosin, Caroline: is ST in HL7