Minutes
Discrete Positioning and Delivery Workflow (DPDW)

Conference Call
January 27, 2015
11:00am – 12:30pm EST

DPDW Subgroup Chair:

Thomas Schwere, Varian Medical Systems
(thomas.schwere@varian.com)
IHERO Task Force Co-Chairs

Dick Fraass, Ph.D., FAAPM, FASTRO, FACR

John Buatti, MD
Mission Statement:  The American Society for Radiology Oncology (ASTRO) has formed a multi-society Task Force to undertake an initiative to promote the Integration of the Healthcare Enterprise (IHE) – Radiation Oncology (RO), fostering seamless connectivity and integration of radiotherapy equipment and the patient health information systems. The Task Force will include members from ASTRO, RSNA, American Association of Physicists in Medicine (AAPM), the American College of Radiology (ACR) and the Medical Imaging and Technology Alliance (MITA). In addition, members of the International community have also been invited to participate in IHE-RO. The IHE-RO Task Force, in close collaboration with radiotherapy product manufacturers, will develop appropriate integration profiles for radiation therapy and setup a demonstration of seamless communication among the full array of radiotherapy products.
In Attendance:
Crystal Carter (ASTRO)

Luiza Kowalczyk (Medical Imaging)
Ulrich Busch (Varian)

Thomas Schwere (Varian)
Sanjay Bari (Elekta)
Harold Beunk (ICT)
Chris Pauer (Accuray)

1. Call to Order

The meeting was started at 11:00 EST.
2. Transactions
T. Schwere went through transaction RO-DPD-219:

· After the context of RO-DPD-219 was introduced, T. Schwere asked the group about the reason of issuing a new Treatment UPS/BDI for the continuation of the interrupted treatment as this would require the TSM to load Tx Records to calculate the BDI. Is this really something we should do within TSM?
· Chris argued that reviewing is much easier if there is a new Treatment UPS. The simple existence of multiple treatment UPS indicates that there was an interruption.

· The TSM could request the calculation of the BDI from the TMS.

· Sanjay mentioned that the TMS might get confused about the new Treatment UPS.

· The group discussed how imaging is re-performed. This is much simpler as the original UPS and acquisition instruction can just be copied (assigning new instance UIDs).
· Re-positioning should always be possible within a session, even if the original UPS is already in final state.

· The group decided on the following:

· Treatment interruptions that can be easily resolved within the same treatment session (i.e. patient remains on the couch) shall be completed on the original Treatment UPS (which is left in IN PROGRESS state after the interruption).
· In case of interruptions that cannot be resolved (e.g. because of machine failure), the treatment session shall be terminated (Treatment UPS ( CANCELED) and the continuation of the treatment shall be done on a new session as for regular partial treatment scenarios. 

· The decision about how to proceed shall happen at TDD.
· T. Schwere will update the sequence diagrams accordingly.

The group assigned the next transactions to be worked out:

· RO-DPD-219 "Create Treat UPS and Radiation Delivery Instruction for Continuation": T. Schwere (ongoing)

· RO-DPD-202 "Request RT Patient Position Correction": M. Vonach
· RO-DPD-224 "External Verification": Sanjay Bari
· RO-DPD-214 "UPS Final Update at Session Termination": Thomas Schwere/Sanjay Bari
· RO-DPD-215 "UPS Completed / Cancelled at Session Termination": Thomas Schwere/Sanjay Bari

3. General Design Topics
3.1. New Workflow Notification Service
H. Beunk is still working on an alternative proposal. He will distribute a memo prior to the next meeting. The memo will be discussed in the next call.

4. Face-to-Face Meeting
There are six confirmed participants so far (Thomas Schwere, Matt Daniels, Ulrich Busch, Christof Schadt, Martin Vonach, David Wikler). Chris, Harold and Sanjay are still waiting for their management approval.
Uli mentioned that we should consider to directly contacting other participants as well. A similar number of participants as we had in the last Brussels meeting would be great. 

If we go with the March meeting we should have at least the core people available. Therefore the group decided to make the final call in the next TCon.
If the March is not going to fly we should consider having the meeting in Europe as the majority of the participants is located in Europe anyhow. Most participants of the Brussels meeting were located in Europe as well.

5. Other Business
5.1. Next DPDW TCon
The chair asked if the February TCon could be moved from Feb 24 to Feb 17. The group agreed on that.
· Tuesday, February 17, 2015
11:00am – 12:30pm EST.
5.2. Changed Mailing List

The mailing list of the IHE-RO DPDW subgroup changed to iherodpdw2015@aapm.org.
6. Adjournment

The meeting was adjourned at 12:30 EST.

Appendix A: Administration and Process Information
Documents are published at the following locations. If you have problems in accessing the document, please contact the Chair (ulrich.busch@varian.com).
Process of Authoring:

Steps:

1. Download a local copy of the document from locations below
2. Open this copy and remove all change bars

3. Ensure, that Changes Bars are switched on

4. Make your changes
5. Provide the updated version to the Chair


Location of Documents:
DPDW Subgroup Minutes
http://wiki.ihe.net/index.php?title=RO_DPDW_WorkingGroup
DPDW Profile
The DPDW Profile is an IHE-RO document.

The current version is available in the IHE-RO Org Wiki:
http://www.ihe-ro.org/
Please find the current document under this page:

http://www.ihe-ro.org/doku.php?id=doc:profiles
Supp 160
DICOM Supplement 160 (Patient Positioning and Workflow) in s DICOM WG-07 document. 
The current version is available at the DICOM ftp server:

ftp://d9-workgrps:goimagego@medical.nema.org/MEDICAL/Private/Dicom/WORKGRPS/WG07/Supp160

Mailing List:
The mailing list for the DPDW subgroup is:
iherodpdw2015@aapm.org
Appendix B: Task Assignments
Per end this TCon (2015-01-27).
	No
	TX / Area
	Old Number
	Title
	Group
	Owner

	1
	./.
	./.
	Use Case Delivery-Device Independent Imaging
	 
	David Wikler

	2
	RO-DPD-200
	RO-DPD-01
	Worklist Query for Positioning Acquisition
	Acquisition
	Martin Vonach

	3
	RO-DPD-201
	RO-DPD-02
	Retrieve Device Position Information
	Acquisition
	Martin Vonach

	4
	RO-DPD-202
	RO-DPD-03
	Request RT Patient Position Correction
	Correction
	Martin Vonach

	5
	RO-DPD-203
	RO-DPD-04
	Store RT Patient Position Modification Instruction
	Correction
	Martin Vonach

	6
	RO-DPD-204
	RO-DPD-05
	Store RT Repositioning Results to Object Storage
	Correction
	Martin Vonach

	7
	RO-DPD-205
	RO-DPD-06
	Worklist Query for Repositioning
	Correction
	Martin Vonach

	8
	RO-DPD-206
	RO-DPD-07
	Notify on Radiation Delivery Status Change
	Delivery
	Thomas Schwere, Sanjay Bari

	9
	RO-DPD-207
	RO-DPD-08
	Retrieve RT Patient Position Correction Instruction
	Correction
	Martin Vonach

	10
	RO-DPD-208
	RO-DPD-09
	Subscribe/Unsubscribe to Treat UPS Status
	UPS Notification
	Thomas Schwere

	11
	RO-DPD-209
	RO-DPD-10
	Notify on Radiation State
	Delivery
	Thomas Schwere, Sanjay Bari

	12
	RO-DPD-210
	RO-DPD-11
	Retrieve Positioning Acquisition Results
	Registration
	Chris Pauers

	13
	RO-DPD-211
	RO-DPD-12
	Worklist Query for Positioning Registration
	Registration
	Chris Pauers

	14
	RO-DPD-212
	RO-DPD-13
	Worklist Query for Position Monitoring
	Monitoring
	Stephen Phillips 

	15
	RO-DPD-213
	RO-DPD-16
	Store Monitoring Results to Object Storage
	Monitoring
	Stephen Phillips 

	16
	RO-DPD-214
	RO-DPD-17
	UPS Final Update at Session Termination
	Framework
	Thomas Schwere, Sanjay Bari

	17
	RO-DPD-215
	RO-DPD-18
	UPS Completed / Cancelled at Session Termination
	Framework
	Thomas Schwere, Sanjay Bari

	18
	RO-DPD-216
	RO-DPD-19
	Indicate Ready for Monitoring
	Monitoring
	Stephen Phillips 

	19
	RO-DPD-217
	RO-DPD-20
	Notify Device to start UPS
	UPS Notification
	Thomas Schwere, Sanjay Bari

	20
	RO-DPD-218
	RO-DPD-21
	Create Positioning Acquisition and Positioning Registration UPS
	Workflow
	Thomas Schwere

	21
	RO-DPD-219
	RO-DPD-22
	Create Treat UPS and Radiation Delivery Instruction for Continuation
	Workflow
	Thomas Schwere

	22
	RO-DPD-220
	RO-DPD-23
	Notify Treatment Session Actors on Starting Session
	UPS Notification
	Thomas Schwere, Sanjay Bari

	23
	RO-DPD-221
	RO-DPD-24
	Notify Device to stop UPS
	UPS Notification
	Thomas Schwere, Sanjay Bari

	24
	RO-DPD-222
	RO-DPD-25
	UPS Progress Update for Discrete non-Treatment Steps
	UPS Notification
	Thomas Schwere, Sanjay Bari

	25
	RO-DPD-223
	RO-DPD-26
	Worklist Query for Positioning Correction Reconciliation
	Registration
	Chris Pauers

	26
	RO-DPD-224
	RO-DPD-27
	External Verification
	External Verification
	Sanjay Bari

	27
	RO-DPD-225
	./.
	Notify Device to resume UPS 
	Monitoring
	Stephen Phillips 

	28
	RO-DPD-226
	./.
	Create new Positioning UPS
	Monitoring
	Stephen Phillips 

	29
	RO-DPD-227
	./.
	UPS Final Update after Positioning Information Acquisition
	Workflow
	

	30
	RO-DPD-228
	./.
	UPS Final Update after Treatment Interruption
	Workflow
	Thomas Schwere


